ORCP-WM-WR-21-07

Date Received: 22 April 2021

REQUEST FOR MARKET RULES AND MANUALS AMENDMENTS

Proposals made only under this prescribed form shall be accepted and considered as submitted.

This request for amendments are be submitted to:

Rules Change Committee

Attention: WESM Governance Committee Secretariat

Philippine Electricity Market Corporation

18/F Robinsons Equitable Tower

ADB Avenue, Ortigas Center

Pasig City, 1605 Philippines

Email addresses: rcc@wesm.ph / mag_rrd@wesm.ph

Contact No: (+632) 8631-8734

- Proponent’s Information

| Name | Richard J. Nethercott |
| --- | --- |
| Designation | President and CEO |
| Company | Independent Electricity Market Operator of the Philippines, Inc. |
| Company Address | 19/F Robinsons Equitable Tower ADB Ave. Ortigas Center |
|  | Pasig City |
| Telephone No. | 02 5318 9376 |
| Fax. No. | 02 8636 0802 |
| Email Address | richard.nethercott@iemop.ph |

- Amendment Information

Proposed Amendments to the (please tick the box):. WESM Rules Retail Rules. Market Manual:; Dispatch Protocol Issue 13.2 Market Network Model Development and Maintenance – Criteria and Procedures Issue 4.2 Registration, Suspension and De-Registration Criteria and Procedures Issue 5.3 Market Operator Information Disclosure and Confidentiality Manual Issue 5.1. Topic:; Enhancements to Market Operator-System Operator Procedures. Proposed Classification of Amendments (please tick the box): General Minor Urgent If Urgent, reason for urgency: _____________________________________________________________.

- SUMMARY OF THE PROPOSED RULES CHANGE

The proposed amendments to the WESM Rules and WESM Manuals on (a) Dispatch Protocol, (b) Registration, (c) Market Network Model (MNM) and (d) Information Disclosure and Confidentiality aim to enhance the processes among the Market Operator (MO), System Operator (SO), and Trading Participants in view of the upcoming implementation of the 5-minute dispatch interval.

- BACKGROUND

The trial and parallel operations program for the New Market Management System (NMMS) has been on-going since 26 June 2017. Activities on this further intensified on 26 April 2019 with the start of the market readiness assessment of the Enhanced WESM Design and Operations. In addition to the conduct of the parallel operations program, the NMMS’ capability to implement the processes for scheduling and dispatch in a 5-minute interval was also evaluated.

Since that time, the Market Operator and System Operator have held several joint workshops and conducted an assessment of the results of the trial/parallel operations program. During the conduct of the above activities, the Market Operator and System Operator noted possible enhancements to the processes for scheduling and dispatch, which were jointly developed and included in this proposal.

This proposal was submitted to the Rules Change Committee (RCC) as an urgent amendment on 23 March 2021. The urgent proposal was approved by the RCC with modifications for endorsement to the PEM Board on 26 March 2021 and was approved by the PEM Board on 31 March 2021. This general proposal reflects the modifications included in the approved version by the PEM Board.

- THE PROPOSED RULES CHANGE

The main focus of the proposal is to establish a framework where all WESM Stakeholders are enjoined to independently perform their duties and responsibilities to ensure grid security and reliability upon the transition to the 5-minute dispatch interval. The following table summarizes the proposed changes to the WESM Rules and WESM Manuals on (a) Dispatch Protocol, (b) Registration, (c) Market Network Model, and (d) Information Disclosure and Confidentiality.

| No. | Proposed Change |
| --- | --- |
| 1 | Use nomenclature for reserves types (i.e. regulation, contingency, and dispatchable) as provided under DOE DC2019-12-0018 |
| 2 | Replace system snapshot with real-time data, including the reference to the MNM manual concerning the required type of information for this data |
| 3 | Clarity SO data updates in the NMMS |
| 4 | Submission of day-ahead projected output from must dispatch generating units to the System Operator |
| 5 | Enhancements on the creation of the Merit Order Table, specifically on the exclusion of scheduled reserve capacities |
| 6 | Process enhancements on dispatch implementation |
| 7 | Include guidelines on dispatch via automatic generation control (AGC) |
| 8 | Improvements in post-dispatch reporting |
| 9 | Registration of option for generator availability for WESM scheduling |
| 10 | Improve process on MNM Development and Deployment |
| 11 | Allow urgent updates to the MNM |
| 12 | Improve documentation and reporting |

- BACKGROUND AND DESCRIPTION OF THE PROPONENT

The proponent is the Independent Electricity Market Operator of the Philippines, Inc. IEMOP acts as the market operator of the WESM.

Top Officers:

Richard J. Nethercott – President and CEO

Robinson P. Descanzo – Chief Operating Officer and Trading Operations Head

Arthur P. Pintado – Internal Audit Head

Rachel Angela P. Anosan – Chief Legal Officer / Head of Legal Department

Isidro E. Cacho, Jr. – Head of Corporate Strategy and Communications Department

Salvador D. Subaran – Head of Information Systems and Technology Department

- CONCLUSIONS AND RECOMMENDATIONS

The amendments to the WESM Rules and WESM Manuals aim to enhance the guidelines and processes involved in scheduling and dispatch under the upcoming 5-minute dispatch interval.

It is recommended that the proposed changes be adopted.

- REFERENCES

- WESM Rules

- WESM Manual on Dispatch Protocol Issue 13.2

- WESM Manual on Market Network Model Development and Maintenance - Criteria and Procedures Issue 4.2

- WESM Manual on Registration, Suspension and De-Registration Criteria and Procedures Issue 5.3

- WESM Manual on Market Operator Information Disclosure and Confidentiality Manual Issue 5.1

- Proposed Amendments

- WESM Rules

| Title | Clause | Provision | Proposed Amendment | Rationale | Comments | Proposed Wording based on Comments | Proponent’s Response | RCC Agreement |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Write general comments here, if any. |  |  |  |
| Overriding Constraints | 3.5.13.1 | xxx The System Operator shall advise the Market Operator of the actions it has taken in relation to the foregoing, including but not limited to information necessary for the proper settlement of affected generating units, and the Market Operator shall publish the said information no later than one (1) week from the relevant trading day. For proper settlement of must-run units, Trading Participants shall review the information and notify the Market Operator of any discrepancies no later than two (2) weeks from the date of publication, otherwise the information contained in the report shall be deemed final for use in the settlement of must-run units. (As amended by DOE DC NO.2015-11-0016 dated 12 November 2015 and further amended by DOE DC No. 2018-04-0007 dated 28 March 2018) | xxx The System Operator shall advise the Market Operator of the actions it has taken in relation to the foregoing, including but not limited to information necessary for the proper settlement of affected generating units, and the Market Operator shall publish the said information no later than one (1) week from the relevant trading day. For proper settlement of must-run units, Trading Participants shall review the information and notify the Market Operator of any discrepancies no later than two (2) weeks from the date of publication, otherwise the information contained in the report shall be deemed final. for use in the settlement of must-run units. (As amended by DOE DC NO.2015-11-0016 dated 12 November 2015 and further amended by DOE DC No. 2018-04-0007 dated 28 March 2018) | To reinforce responsibility of Trading Participants (TP) in reporting their limitations if unable to follow RTD schedule and to encourage TP’s active review of SO reports as part of their responsibilities. To be consistent with the proposed change of SO’s reporting of their dispatch instructions, containing all dispatch instructions from the System Operator (e.g. dispatch of must-run units), instead of dispatch deviations of generating units. Further, per proposed changes in DP Section 14.4.7, the SO Report will be named as “Dispatch Instruction Report”. |  |  |  |  |
| Responsibilities of the System Operator | 3.8.2 | 3.8.2.2 After each one (1) hour interval, in accordance with the timetable, the System Operator shall advise the Market Operator of: a. xxx xxx The System Operator shall likewise provide a dispatch deviation report to the Market Operator, in accordance with the timetable, detailing among others the circumstances and dispatch levels of units that were constrained-on or constrained-off or put on must-run during that one (1) hour interval. | 3.8.2.2 After each one (1) hour interval, in accordance with the timetable, the System Operator shall advise the Market Operator of: a. xxx xxx The System Operator shall likewise provide a dispatch deviation instruction report to the Market Operator, in accordance with the timetable, detailing among others the circumstances and dispatch levels of units that were constrained-on or constrained-off or put on must-run during that one (1) hour interval. | To change of report name to Dispatch Instruction Report consistent with proposed changes to WESM DP |  |  |  |  |
| System Operator Implementation of Real-Time Dispatch | 3.8.3.4 | Subject to Clause 3.8.3.4, if, in real-time, the available generation from a must dispatch generating unit differs from the available generation assumed in the dispatch schedule provided to the System Operator, the System Operator shall allow the must dispatch generating unit to generate at its maximum available output, and, if all available frequency regulation is exhausted during a dispatch interval, shall adjust the dispatch of other generating units, to compensate as required in accordance with relevant Market Manuals. | Subject to Clause 3.8.3.43, if, in real-time, the available generation from a must dispatch generating unit differs from the available generation assumed in the dispatch schedule provided to the System Operator, the System Operator shall allow the must dispatch generating unit to generate at its maximum available output, and, if all available frequency regulation is regulating reserves are exhausted during a dispatch interval, shall adjust the dispatch of other generating units, to compensate as required in accordance with relevant Market Manuals. | Revised reference clause to 3.8.3.3. For consistency with the proposed changes in the WESM DP on |  |  |  |  |
| Dispatch Conformance Standards | 3.8.5 | 3.8.5.6 In cases when a generating unit was identified as a Must-Stop Unit, the System Operator shall include such in the Dispatch Deviation Report. | 3.8.5.6 In cases when a generating unit was identified as a Must-Stop Unit, the System Operator shall include such in the Dispatch Deviation Instruction Report. | Change of report name to Dispatch Instruction Report consistent with proposed changes to WESM DP |  |  |  |  |
| Glossary |  | xxxx Contingency Reserve. The ability to respond so as to arrest a significant drop in system frequency such as would arise as a result of a credible contingency affecting one (or more) generating units within a region, or transmission flows into a region. xxxx Dispatchable Reserve. The ability to respond to a re-dispatch performed by the System operator during a trading interval, on either a regular or an ad hoc basis. xxxx Regulating Reserve. The ability to adjust generation continuously in response to small frequency changes, so a so as to cover load fluctuations or minor breakdowns, defined as an ancillary service in clause 3.3.4.2 (a). | xxxx Contingency Reserve. The ability to respond so as to arrest a significant drop in system frequency such as would arise as a result of a credible contingency affecting one (or more) generating units within a region, or transmission flows into a region. Synchronized generation capacity from qualified generating units and qualified interruptible loads allocated to cover the loss or failure of a synchronized generating unit or a transmission element or the power import from a circuit interconnection. xxxx Dispatchable Reserve. The ability to respond to a re-dispatch performed by the System operator during a trading interval, on either a regular or an ad hoc basis. Generating capacity that is not scheduled for regular energy supply, regulating reserve, contingency reserve, or interruptible loads not scheduled for contingency reserve, and that are readily available for dispatch in order to replenish the contingency reserve service whenever a generating unit trips or a loss of a single transmission interconnection occurs. xxxx Regulating Reserve. The ability to adjust generation continuously in response to small frequency changes, so a so as to cover load fluctuations or minor breakdowns, defined as an ancillary service in clause 3.3.4.2 (a). Readily available and dispatchable generating capacity that is allocated exclusively to correct deviations from the acceptable nominal frequency caused by unpredicted variations in demand or generation output. | To harmonize with DOE DC2019-12-0018 (regulating, contingency, dispatchable). |  |  |  |  |

- WESM Manual on Dispatch Protocol Issue 13.2

| Title | Clause | Provision | Proposed Amendment | Rationale | Comments | Proposed Wording based on Comments | Proponent’s Response | RCC Agreement |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Write general comments here, if any. |  |  |  |
| DEFINITIONS | 2.1.2 | XXX u. Primary Reserve. Synchronized generating capacity that is allocated to stabilize the system frequency and to cover the loss or failure of a synchronized generating unit or a transmission line or the power import from a single circuit interconnection, as defined in the Grid Code. Also referred to as contingency reserves. XXX w. Red Alert. An alert issued by the System Operator when the Primary Reserve is zero, a generation deficiency exists, or there is critical loading or imminent overloading of transmission lines or equipment. XXX x. Secondary Reserve. Synchronized generating capacity that is allocated to restore the system frequency to the nominal frequency of 60Hz, as defined on the Grid Code. Also referred to as regulating reserves. XXX ff. System Snapshot. Otherwise known as EMS Snapshot. The system snapshot contains MW loadings of generators and loads. The system snapshot also indicates connection status of the power system. XXX hh. Tertiary Reserve. Capacity used in order to replenish the Secondary Reserve and for such other cases, as defined in the Grid Code. | XXX a. Ancillary Service Procurement Agreement. A contractual agreement under which a WESM Member, registered as an Ancillary Service Provider, agrees with the System Operator to provide ancillary services. b. Automatic Generation Control. The regulation of the power output of generating units to respond to a change in system frequency or tie-line loading, as defined in the Grid Code, or to meet its target loading level. a. c. Automatic Load Dropping (ALD). xxx b. d. Availability. xxx c. e. Bid. xxx d. f. Capability. xxx e. g. Cascading Outages. xxx f. h. Contingency. xxx u. i. Primary Contingency Reserve. Synchronized generating capacity that is allocated to stabilize the system frequency and to cover the loss or failure of a synchronized generating unit or a transmission line or the power import from a single circuit interconnection, as defined in the Grid Code. Also referred to as contingency reserves. Synchronized generation capacity from qualified generating units and qualified interruptible loads allocated to cover the loss or failure of a synchronized generating unit or a transmission element or the power import from a circuit interconnection. g. j. Demand Control. xxx h. k. Demand Control Imminent Warning. xxx hh. l. Tertiary Dispatchable Reserve. Capacity used in order to replenish the Secondary Reserve and for such other cases, as defined in the Grid Code. Generating capacity that is not scheduled for regular energy supply, regulating reserve, contingency reserve, or interruptible loads not scheduled for contingency reserve, and that are readily available for dispatch in order to replenish the Contingency Reserve service whenever a generating unit trips or a loss of a single transmission interconnection occurs. i. m. Disturbance. xxx j. n. Frequency control. xxx k. o. Generator. xxx l. p. Load shedding. xxx m. q. Manual Load Dropping. xxx n r. Market Management System (MMS). xxx o. s. Maximum available capacity. xxx p. t. MMS-Market Participant Interface (MPI). xxx q. u. Multiple Outage Contingency. xxx r. v. Offer. xxx s. w. Operating margin. xxx t. x. Preferential Dispatch Units. xxx ff. y. System Snapshot Real-Time Data. Otherwise known as EMS Snapshot. The system snapshot cContains analog measurements (MW loadings and MVAR) of generators and loads., The system snapshot also indicates and the connection status of power system breakers and disconnect switches. v. z. Real-Time Dispatch. xxx w. aa. Red Alert. An alert issued by the System Operator when the Primary Contingency Reserve is zero, a generation deficiency exists, or there is critical loading or imminent overloading of transmission lines or equipment. x. bb. Secondary Regulating Reserve. Synchronized generating capacity that is allocated to restore the system frequency to the nominal frequency of 60Hz, as defined on the Grid Code. Also referred to as regulating reserves. Readily available and dispatchable generating capacity that is allocated exclusively to correct deviations from the acceptable nominal frequency caused by unpredicted variations in demand or generation output. y. cc. Security. xxx z. dd. Self-scheduled nomination. xxx aa. ee. Shutdown. xxx bb. ff. Stability. xxx cc. gg. Start-up. xxx dd. hh. System Integrity Protection Scheme (SIPS). xxx ee. ii. System Operator System Advisories. xxx ff. System Snapshot. xxx gg. jj. Technical Constraint. xxx hh. Tertiary Reserve. xxx ii. kk. Voltage Control. xxx jj. ll. Voltage Instability. xxx kk. mm. Voltage Sag. xxx | To add definition of an ancillary service procurement agreement, which will be referred to in later sections. To add definition of automatic generation control, which will be referred to in later sections. To harmonize with DOE DC2019-12-0018 (regulating, contingency, dispatchable). This is the definition of Contingency reserve in said DOE DC. To harmonize with DOE DC2019-12-0018 (regulating, contingency, dispatchable). This is the definition of Dispatchable reserve in said DOE DC. To reflect change in type of data received with the use of Inter-Control Centre Communications Protocol (ICCP) of the NMMS. To harmonize with DOE DC2019-12-0018 (regulating, contingency, dispatchable). This is the definition of Regulating reserve in said DOE DC. |  |  |  |  |
| WESM TIMETABLE | 4.4 | Table 2. DAP Timeline Time; Activity; Responsible Party. XXX; XXX; XXX. Before [STPH1 + 1 minute]; Provide updates on the following, if any: - XXX - XXX - XXX - XXX - Real-time system snapshot - XXX - XXX; System Operator. XXX; XXX; XXX. XXX; XXX; XXX. XXX; XXX; XXX. XXX; XXX. | Table 2. DAP Timeline Time; Activity; Responsible Party. XXX; XXX; XXX. Before [STPH1 + 1 minute]; Provide updates on the following, if any: - XXX - XXX - XXX - XXX - Real-time system snapshot data - XXX - XXX; System Operator. XXX; XXX; XXX. XXX; XXX; XXX. XXX; XXX; XXX. XXX; XXX. | To reflect change in type of data received with the use of ICCP of the NMMS |  |  |  |  |
| WESM TIMETABLE | 4.5 | Table 4. HAP Timeline Time; Activity; Responsible Party. XXX; XXX; XXX. Before [STDI1 – 7 minutes]; Provide updates on the following, if any: - XXX - XXX - XXX - XXX - XXX - Real-time system snapshot; System Operator. XXX; XXX; XXX. XXX; XXX; XXX. XXX; XXX; XXX. XXX; XXX. | Table 4. HAP Timeline Time; Activity; Responsible Party. XXX; XXX; XXX. Before [STDI1 – 7 minutes]; Provide updates on the following, if any: - XXX - XXX - XXX - XXX - Real-time system snapshot data; System Operator. XXX; XXX; XXX. XXX; XXX; XXX. XXX; XXX; XXX. XXX; XXX. | To reflect change in type of data received with the use of ICCP of the NMMS |  |  |  |  |
| WESM TIMETABLE | 4.6 | Table 5. RTD Timeline Time; Activity; Responsible Party. XXX; XXX; XXX. Before [STDI – 7 minutes]; Provide updates on the following, if any: - XXX - XXX - XXX - XXX - Real-time system snapshot; System Operator. XXX; XXX; XXX. XXX; XXX; XXX. XXX; XXX; XXX. XXX; XXX. | Table 5. RTD Timeline Time; Activity; Responsible Party. XXX; XXX; XXX. Before [STDI – 7 minutes]; Provide updates on the following, if any: - XXX - XXX - XXX - XXX - Real-time system snapshot data; System Operator. XXX; XXX; XXX. XXX; XXX; XXX. XXX; XXX; XXX. XXX; XXX. | To reflect change in type of data received with the use of ICCP of the NMMS |  |  |  |  |
| SYSTEM OPERATOR INPUT DATA AND REPORTS | 7.4.1 | ### Market run data Inputs. For each dispatch interval, the System Operator shall provide and update data, if necessary, which shall be used in the pre-dispatch projections and real-time dispatch market runs: - Outage schedules - Contingency lists - Over-riding constraints - Reserve requirements | ### Market run data Inputs. For each dispatch interval, the System Operator shall provide and or update the data, if necessary, which shall be used in the pre-dispatch projections and real-time dispatch market runs: - Outage schedules - Contingency lists - Over-riding constraints - Reserve requirements | Minor clerical amendment to clarify the provision |  |  |  |  |
| SYSTEM OPERATOR INPUT DATA AND REPORTS | 7.6.4 | ### (New) | ### Generating units undergoing regulatory and commercial tests shall submit to the System Operator the MW profile that details the MW target for each dispatch interval during its requested test period on or before two (2) working days prior to the start of its testing. | Gen TPs on testing and commissioning to submit test profiles for each dispatch interval during the test period. The test profile will be the reference of the SO in its submission of overriding constraints. |  |  |  |  |
| SYSTEM STATUS | 7.9 | 7.9.1 System Snapshot. The system snapshot depicts the status of individual power facilities in the grid. The system snapshot is collected by the Market Operator from the System Operator’s EMS/SCADA. a. The system snapshot contains the following information: - Generator Unit MW and MVAR (analog measurements) - Load MW and MVAR (analog measurements) and - Breaker Status - Bus Voltages - Frequency b. The system snapshot is an input to the MDOM which calculates the WAP, DAP, HAP, and RTD schedules. Specifically, the system snapshot data is used for the network configuration and nodal demand forecasting processes. 7.9.2 System Operator System Advisories. The System Operator system advisories contain other information not included in the submission of system snapshots. Further to the information provided in Section 7.4.2, these are messages issued by the System Operator depicting particular events or incidents that would transpire prior, during or after real time condition. | 7.9.1 System Snapshot Real-Time Data. The system snapshot real-time data represents depicts the analog measurements, and connection status of breakers and disconnect switches status of individual power facilities in the grid. The system snapshot It is collected by the Market Operator from the System Operator’s EMS/SCADA. a. The system snapshot real-time data shall contains the following information as prescribed in the WESM Market Manual on Market Network Model Development and Maintenance - Criteria and Procedure.: - Generator Unit MW and MVAR (analog measurements) - Load MW and MVAR (analog measurements) and - Breaker Status - Bus Voltages - Frequency b. The system snapshot real-time data is an input to the MDOM which calculates the WAP, DAP, HAP, and RTD schedules. Specifically, the system snapshot real-time data is used for the network configuration and nodal demand forecasting processes. 7.9.2 System Operator System Advisories. The System Operator system advisories contain other information not included in the submission of system snapshots. Further to the information provided in Section 7.4.2, these are messages issued by the System Operator depicting particular events or incidents that would transpire prior, during or after real time condition. | To reflect change in type of data received with the use of ICCP of the NMMS |  |  |  |  |
| SYSTEM STATUS | 7.10 | 7.10.2 The System Operator shall provide the information contained in this Section in accordance with the timetable set in Section 4. | 7.10.2 The System Operator shall update provide the information contained in this Section in accordance with considering the timetable set in Section 4. | To clarify the responsibility of SO to update system status |  |  |  |  |
| MARKET PROJECTIONS - Responsibilities | 8.3.3 | Trading Participants shall be responsible for: - Ensuring submission of self-scheduled nominations, bids, and offers as set out in the WESM Rules and in accordance with the WESM timetable and the procedures and requirements set forth in this Dispatch Protocol; and - Maintaining their respective infrastructure to ensure access to the MPI of the MMS. | Trading Participants shall be responsible for: - Ensuring submission of self-scheduled nominations, bids, and offers as set out in the WESM Rules and in accordance with the WESM timetable and the procedures and requirements set forth in this Dispatch Protocol; and - Submission of day-ahead self-scheduled nominations of its must dispatch generating units to the System Operator by 1300H; and - Maintaining their respective infrastructure to ensure access to the MPI of the MMS. | Propose that Must Dispatch generating units provide SO day-ahead forecasts for planning purposes as also provided under PGC SD 8.3.2.6 |  |  |  |  |
| Data Inputs/Information Requirements | 8.4.2 | The data inputs for the market projections are as follows: a. XXX b. XXX c. System snapshot d. XXX e. XXX f. XXX g. XXX h. XXX i. XXX | The data inputs for the market projections are as follows: a. XXX b. XXX c. System snapshot Real-time data d. XXX e. XXX f. XXX g. XXX h. XXX i. XXX | Reflect change in type of data received with the use of ICCP of the NMMS |  |  |  |  |
| REAL-TIME DISPATCH SCHEDULING | 9.5 | Table 6. Summary of Inputs and Sources for the Real-time dispatch INPUTS; SOURCE. XXX; XXX. XXX; XXX. System Snapshot; System Operator. XXX; XXX. XXX; XXX. XXX; XXX. XXX; XXX. XXX; XXX. | Table 6. Summary of Inputs and Sources for the Real-time dispatch INPUTS; SOURCE. XXX; XXX. XXX; XXX. System snapshot Real-Time Data; System Operator. XXX; XXX. XXX; XXX. XXX; XXX. XXX; XXX. XXX; XXX. | Reflect change in type of data received with the use of ICCP of the NMMS |  |  |  |  |
| PREPARATION OF THE WESM MERIT ORDER TABLE | 10.1.2 | The WMOT is generated by stacking in an unconstrained manner of scheduled and unscheduled capacities, excluding negative quantities through the market offers submitted for the real-time dispatch runs. Energy offer blocks submitted by generator Trading Participants for a particular dispatch interval are arranged from lowest to the highest priced offer block, without considering any constraints. The WMOT stacks energy offers into two, namely, the energy offers that were scheduled (or “Offers Dispatched”) and energy offers that were not scheduled (or “Offers Not Dispatched”). | The WMOT is generated by stacking, in an unconstrained manner, of scheduled and unscheduled capacities, excluding negative quantities, reserve schedules, and generators on outage through the market offers submitted for the real-time dispatch runs. Energy offer blocks submitted by generator Trading Participants for a particular dispatch interval are arranged from lowest to the highest priced offer block, without considering any constraints. The WMOT stacks energy offers into two, namely, the energy offers that were scheduled (or “Offers Dispatched”) and energy offers that were not scheduled (or “Offers Not Dispatched”). | To reflect more accurate presentation of available capacities for re-dispatch |  |  |  |  |
| PREPARATION OF THE WESM MERIT ORDER TABLE | 10.3.2 | Consistent with its obligations set out in this Dispatch Protocol in respect to the issuance of dispatch instructions, the System Operator shall be responsible for ensuring the application of the information provided in the WMOT in the real-time operation of the grid. The System Operator shall also be responsible for identifying the generating units designated as must-run units through the dispatch deviation report and report on must-run units prepared in accordance with Sections 14.4.2 and 14.4.5. | Consistent with its obligations set out in this Dispatch Protocol in respect to the issuance of dispatch instructions, the System Operator shall be responsible for ensuring the application of the information provided in the WMOT in the real-time operation of the grid. The System Operator shall also be responsible for identifying the generating units that were issued dispatch instructions designated as must-run units through the dispatch deviation instruction report and report on must-run units prepared in accordance with Sections 14.4.2 and 14.4.5. | Renamed to dispatch instruction report. Also, MRU reports will be integrated in the dispatch instruction report per proposed revisions in Section 14.4.5. |  |  |  |  |
| Preparation of WMOT | 10.4 | 10.4.1 The WMOT shall be prepared using the offers, excluding negative quantities, and the real-time dispatch schedule of each generating system for which offers were submitted for the relevant dispatch interval. The specific information that will be used is as follows: XXX 10.4.5 The “Offers Dispatched” consists of the energy offer blocks which have been scheduled in the RTD schedule for the dispatch interval. To the extent possible, the dispatch schedule of each generating unit will be split into corresponding offer blocks. The scheduled offer blocks will then be sorted and listed from the lowest-priced to the highest-priced scheduled offer block, with the lowest-priced scheduled offer block at the bottom of the list and the highest-priced at the top of the list. The generating units for which no offers are submitted but were scheduled are considered as price takers. Their respective schedules, MW, are included in this list and are placed at the bottom of the list with must dispatch generating units at the bottom and followed by priority dispatch generating units and non-scheduled generating units in that order. 10.4.6 The “Offers Not Dispatched” consists of the remaining energy offers of each generating unit that are not scheduled or included in the RTD schedule for the dispatch interval. To the extent possible, the remaining offers will be sorted by offer blocks. The offer blocks not dispatched will then be sorted and listed from the lowest-priced to the highest-priced scheduled offer block, with the lowest-priced scheduled offer block at the bottom of the list and the highest-priced at the top of the list. Capacities that were not dispatched through their energy offers but have reserve dispatch targets shall be excluded from the list. | 10.4.1 The WMOT shall be prepared using the real-time dispatch schedules, and the offers, excluding negative quantities, reserve schedules, and generators on outage, and the real-time dispatch schedule of each generating system for which offers were submitted for the relevant dispatch interval. The specific information that will be used is as follows: XXX 10.4.5 The “Offers Dispatched” consists of the energy offer blocks, excluding reserve schedules, which have been scheduled in the RTD schedule for the dispatch interval. To the extent possible, the dispatch schedule of each generating unit will be split into corresponding offer blocks. The scheduled offer blocks will then be sorted and listed from the lowest-priced to the highest-priced scheduled offer block, with the lowest-priced scheduled offer block at the bottom of the list and the highest-priced at the top of the list. The generating units for which no offers are submitted but were scheduled are considered as price takers. Their respective MW schedules, MW, are included in this list and are placed at the bottom of the list with must dispatch generating units at the bottom and followed by priority dispatch generating units and non-scheduled generating units in that order. 10.4.6 The “Offers Not Dispatched” consists of the remaining energy offers of each available generating unit that are not scheduled or included in the RTD schedule for the dispatch interval. To the extent possible, the remaining offers will be sorted by offer blocks. The offer blocks not dispatched will then be sorted and listed from the lowest-priced to the highest-priced scheduled offer block, with the lowest-priced scheduled offer block at the bottom of the list and the highest-priced at the top of the list. Capacities that were not dispatched through their energy offers but have reserve dispatch targets shall be excluded from the list. | Proposed to amend to reflect more accurate presentation of available capacities for re-dispatch |  |  |  |  |
| Use of WMOT | 10.6.2 | As far as practicable, and when secondary reserves have been exhausted, the System Operator shall issue re-dispatch instructions based on the WMOT. However, the System Operator may resort in an out of merit dispatch whenever the quality of the grid frequency is affected or the security of the grid is at risk. | 10.6.2 As far as practicable, and when secondary regulating reserves have been exhausted, the System Operator shall issue re-dispatch instructions based on the WMOT. However, the System Operator may resort in an out of merit dispatch whenever the quality of the grid frequency is affected or the security of the grid is at risk. | To harmonize with DOE DC2019-12-0018 (regulating, contingency, dispatchable) |  |  |  |  |
| DISPATCH IMPLEMENTATION | 11.1.3 | 11.1.3 During each dispatch interval, the Trading Participant is directed under WESM Rules Clause 3.8.4.1 to implement the dispatch targets determined by the Market Operator. | 11.1.3 During each dispatch interval Except for generating units operating on automatic generation control (AGC), the Trading Participant is directed under WESM Rules Clause 3.8.4.1 to implement the dispatch targets determined by the Market Operator for each dispatch interval. ### 11.1.4 For generating units operating on AGC, the dispatch instructions shall be issued by the System Operator. The Trading Participant shall then comply with the dispatch instructions issued by the System Operator through their facilities for AGC, based on the dispatch target determined by the Market Operator for each dispatch interval. | Proposed to provide option for automated dispatching |  |  |  |  |
| DISPATCH IMPLEMENTATION | 11.1.4 | 11.1.4 xxx | 11.1.45 xxx 11.1.6 The System Operator shall make use of the first WMOT available for the hour as reference for its re-dispatch instruction at any dispatch interval for that hour (e.g. 1005H WMOT shall be used for all dispatch intervals from 1005H to 1100H). | Re-numbered item due to additional clause in 11.1.4. Added new clause to specify first WMOT shall be used as reference for the rest of the hour in SO re-dispatch in consideration of the SO’s operational issues in relying on multiple 5-minute WMOTs in a one-hour interval. |  |  |  |  |
| RESPONSIBILITIES | 11.3 | 11.3.1 The System Operator, in coordination with the Market Operator, shall be responsible for the following: a. XXX b. Implementing the WMOT provided by the Market Operator; c. Assuring the security and reliability of the grid at all times in compliance with the provisions of the System Security and Reliability Guidelines and Grid Code; d. Dispatching generators as constrain-on or constrain-off, or as must-run unit if all available reserves are exhausted during a dispatch interval; and e. Reporting events and actions made during dispatch intervals 11.3.2 XXX 11.3.3 All Trading Participants shall comply with their respective dispatch schedules issued by the Market Operator and the re-dispatch instructions issued to them by the System Operator, if any. For this purpose, they shall ensure that their respective internal processes, systems and infrastructure, as well as their protocols with their counterparties, shall enable strict compliance with this Section. | 11.3.1 The System Operator, in coordination with the Market Operator, shall be responsible for the following: - XXX b. Directly issuing dispatch instructions to generating units operating on AGC b.c. Implementing the WMOT provided by the Market Operator; c.d. Assuring the security and reliability of the grid at all times in compliance with the provisions of the System Security and Reliability Guidelines and Grid Code; d.e. Dispatching generators as constrain-on or constrain-off, or as must-run unit if all available reserves are exhausted during a dispatch interval; and e.f. Reporting events and actions made during dispatch intervals 11.3.2 XXX 11.3.3 All Trading Participants shall comply with their respective dispatch schedules issued by the Market Operator, dispatch instructions issued by the System Operator through their facilities for AGC, and the re-dispatch instructions issued to them by the System Operator, if any. For this purpose, they shall ensure that their respective internal processes, systems and infrastructure, as well as their protocols with their counterparties, shall enable strict compliance with this Section. | Proposed to provide option for automated dispatching consistent with revisions in Section 11.1.3. |  |  |  |  |
| ISSUANCE AND COVERAGE OF DISPATCH INSTRUCTIONS | 11.4 | 11.4.1 Dispatch instructions shall include the following: - XXX - XXX 11.4.2 XXX 11.4.3 System Operator Clearance. When the grid frequency is not within the normal threshold, the Trading Participants shall seek clearance from the System Operator before ramping up or down to their respective target loading levels. The System Operator shall provide clearance and issue dispatch instructions as it deems appropriate. | 11.4.1 Except for generating units operating on AGC, Ddispatch instructions shall include the following: - XXX - XXX 11.4.2 For generating units operating on AGC, the following shall be observed: a. The System Operator shall send AGC commands based on a linear ramp rate specified with the Generation Company. b. The Generation Company shall communicate to the System Operator the status of the AGC operations from start, during, and end of AGC remote control mode, as necessary. c. The Generation Company shall seek clearance from the System Operator to change from remote to local AGC mode in cases of technical constraints. d. When the Generation Company observes AGC-related issues that affect its operations, the Generation Company shall immediately communicate such issues to the System Operator prior to changing its mode of dispatch. e. For an aggregated generating unit, the Generation Company shall pro-rate the AGC command to the individual generating units based on each unit’s MW capability at that time. 11.4.23 XXX 11.4.34 System Operator Clearance. Generator Dispatch Compliance Beyond Normal Grid Frequency Threshold. a. When the grid frequency is not within the normal threshold reaches 59.7Hz or lower, the Trading Participants shall operate based on the following conditions: seek clearance from the System Operator before ramping up or down to their respective target loading levels. The System Operator shall provide clearance and issue dispatch instructions as it deems appropriate. Condition; Status of Actual Dispatch; Expected Response. Frequency is 59.7 Hz or lower; If ramping down, or current actual loading is higher than dispatch schedule; Generating unit should stop ramping down and maintain current actual loading unless otherwise instructed by the System Operator. If ramping up, or current actual loading is lower than dispatch schedule; Generating unit should continue to ramp up to its dispatch schedule unless otherwise instructed by the System Operator. b. Once the grid frequency goes up to 60 Hz after coming off from a state in Section 11.4.4 (a), then the Trading Participants shall resume to dispatch its generating units to meet its dispatch schedule. c. When the grid frequency reaches 60.3 Hz or higher, the Trading Participants shall operate based on the following conditions: Condition; Status of Actual Dispatch; Expected Response. Frequency is 60.3 Hz or higher; If ramping down, or current actual loading is higher than dispatch schedule; Generating unit should continue to ramp down to its dispatch schedule unless otherwise instructed by the System Operator. If ramping up, or current actual loading is lower than dispatch schedule; Generator should stop ramping up and maintain current actual loading unless otherwise instructed by the System Operator. d. Once the grid frequency comes down to 60 Hz after coming off from a state in Section 11.4.4 (c), then the Trading Participants shall resume to dispatch its generating units to meet its dispatch schedule. | Proposed to provide option for automated dispatching consistent with revisions in Section 11.1.3. Proposed to ensure reliability of the grid by providing standard initial reaction from generation companies |  |  |  |  |
| DISPATCH OF MUST AND PRIORITY DISPATCH GENERATING UNITS | 11.5 | 11.5.2 If, in real-time, the available generation from a Must dispatch generating unit differs from the available generation assumed in the dispatch schedule provided to the System Operator, the System Operator shall allow the Must dispatch generating unit to generate at its maximum available output, and, if all available secondary reserves are exhausted during a dispatch interval, shall adjust the dispatch of other generating units to compensate as required in accordance with re-dispatch process in this Section. | 11.5.2 If, in real-time, the available generation from a Must dispatch generating unit differs from the available generation assumed in the dispatch schedule provided to the System Operator, the System Operator shall allow the Must dispatch generating unit to generate at its maximum available output, and, if all available secondary regulating reserves are exhausted during a dispatch interval, shall adjust the dispatch of other generating units to compensate as required in accordance with re-dispatch process in this Section. | To harmonize with DOE DC2019-12-0018 (regulating, contingency, dispatchable) |  |  |  |  |
| COMMUNICATING AND REPORTING OF DISPATCH SCHEDULES AND INSTRUCTIONS | 11.8 | 11.8.1 The real-time dispatch targets shall be communicated by the Market Operator to the Trading Participants through the MPI. The WMOT generated for a dispatch interval shall be published in accordance with Section 10.7.2 of this Dispatch Protocol. Redispatch instructions shall be communicated by the System Operator to the Trading Participants through their respective power plant operators. 11.8.2 The System Operator shall maintain the communication facilities it needs for communicating with Trading Participants which may include telephones, fax, email, web pages and other means of communications. 11.8.3 XXX 11.8.4 All dispatch instructions issued by the System Operator to Trading Participants shall be recorded through operator logs. The System Operator shall include this information in the dispatch deviation report, in accordance with Section 14.4. 11.8.5 Dispatch deviation reports submitted by the System Operator to the Market Operator shall be used for purposes of surveillance, audit, and market settlements. | 11.8.1 The real-time dispatch targets shall be communicated by the Market Operator to the Trading Participants through the MPI. The WMOT generated for a dispatch interval shall be published in accordance with Section 10.7.2 of this Dispatch Protocol. Dispatch instructions through the AGC facilities shall be communicated by the System Operator through the available communication link with the power plant operator. Redispatch instructions shall be communicated by the System Operator to the Trading Participants through their respective power plant operators. 11.8.2 The System Operator shall maintain the communication facilities it needs for communicating with Trading Participants which may include telephones, fax, email, web pages, facilities for AGC, and other means of communications. 11.8.3 XXX 11.8.4 All dispatch instructions issued by the System Operator, including those provided through the facilities for AGC, to Trading Participants shall be recorded through operator logs. The System Operator shall include this information in the dispatch deviation instruction report, in accordance with Section 14.4. 11.8.5 Dispatch deviation instruction reports submitted by the System Operator to the Market Operator shall be used for purposes of surveillance, audit, and market settlements. | Proposed to provide option for automated dispatching. Also revised dispatch deviation reports to dispatch instruction reports. |  |  |  |  |
| START-UP AND SHUTDOWN OF GENERATING UNITS | 13.2.2 | Consistent with its obligations pertaining to real-time dispatch scheduling and implementation, the System Operator shall ensure: a. Continuous and timely submission and updating of the outage schedules, overriding constraint limits of generating units to the Market Operator; b. XXX c. XXX | Consistent with its obligations pertaining to real-time dispatch scheduling and implementation, the System Operator shall ensure: a. Continuous and timely submission and updating of the outage schedules, overriding constraint limits of generating units to the Market Operator; b. XXX c. XXX | For consistency with self-commitment and dispatch principles under the EWDO |  |  |  |  |
| General Procedures | 13.3 | 13.3.4 The dispatch scheduling of the generating unit that will start-up or shutdown shall be managed through its market offers submitted within the WESM timetable. The Trading Participant shall submit offers for the dispatch interval during which the unit is to startup or shutdown and make adjustments to its offers, as appropriate. | 13.3.4 The dispatch scheduling of the generating unit that will start-up or shutdown shall be managed through its market offers submitted within the WESM timetable. The Trading Participant shall submit market offers or nominations for the dispatch interval during which the unit is to startup or shutdown and make adjustments to its market offers or nominations, as appropriate. 13.3.5 Consistent with the provisions in the WESM Manual on the Market Network Model Development and Maintenance - Criteria and Procedure, the status of generating units shall be based on their registered availability in the market network model. | For consistency with self-commitment and dispatch principles under the EWDO and provide options especially applicable to generating units with fast-start capability |  |  |  |  |
| Start-up of a Generating Unit | 13.4 | 13.4.1 Off-line units will not be included in the dispatch scheduling process. Thus, the generating unit must then be synchronized to the grid prior to the execution of the real-time dispatch run consistent with the WESM timetable. 13.4.2 The System Operator shall update the outage schedule of generators to remove the generating unit cleared to start-up from the outage list. Submission shall be in accordance with the WESM timetable. If the start-up will be deferred, the System Operator shall update the outage schedule accordingly and in accordance with the WESM timetable for submission of outage schedules. 13.4.3 XXX 13.4.4 XXX | 13.4.1 Off-line units will not be included in the dispatch scheduling process. Thus, the A generating unit must then be synchronized to the grid have market offers or nominations prior to the execution of the real-time dispatch run consistent with the WESM timetable. 13.4.2 The System Operator shall update the outage schedule of generators to remove the generating unit cleared to start-up from the outage list. Submission shall be in accordance with the WESM timetable. 13.4.3 If the start-up will be deferred, the System Operator shall update the outage schedule accordingly and in accordance with the WESM timetable for submission of outage schedules. 13.4.34 XXX 13.4.45 XXX | For consistency with self-commitment and dispatch principles under the EWDO Re-numbered |  |  |  |  |
| Shutdown of a Generating Unit | 13.5 | 13.5.3 The Trading Participant shall update its offers for the dispatch intervals covered in the shutdown sequence. 13.5.4 Once the generating unit has completely shut down, the relevant Trading Participant shall cancel its daily offer profile for the affected trading day. | 13.5.3 The Trading Participant shall update its market offers or nominations for the dispatch intervals covered in the shutdown sequence. 13.5.4 Once the generating unit has completely shut down, the relevant Trading Participant shall cancel its daily market offer or nomination profile for the affected trading day. | To clarify that Trading participants also required to update their nominations. |  |  |  |  |
| Post-dispatch Data and Operation Reports | 14.1 | Background After each dispatch interval, the System Operator is required under WESM Rules Clause 3.8.2 to advise the Market Operator of the occurrence of, among other information, dispatch deviations, load shedding, network constraints, binding security constraints and operational irregularities. | Background After each dispatch interval, the System Operator is required under WESM Rules Clause 3.8.2 to advise the Market Operator of the occurrence of, among other information, dispatch deviations instructions, load shedding, network constraints, binding security constraints and operational irregularities. | Reflect proposed change to Dispatch Instruction Report to cover all instructions issued by SO instead of deviations only |  |  |  |  |
| Post-dispatch Reports and Information | 14.4.2 | Dispatch Deviation Report. For each trading day, the System Operator shall submit a report to the Market Operator, on a weekly basis, containing deviation to actual dispatch from the RTD schedule. The Dispatch Deviation Report shall contain, among others, the following information: a. Covered period (start time and end time) b. Resource name c. Reason for Deviation: • Utilized for ancillary services • Testing Requirement • Re-dispatch of constrain-on and constrain-off generating units • Designation of must-run units d. Short description of the issue being addressed (e.g. frequency breached x Hz) | Dispatch Deviation Instruction Report. On a weekly basis, For each trading day, the System Operator shall submit a report to the Market Operator, on a weekly basis, containing their dispatch instructions that includes, but are not limited to, generator re-dispatch (e.g. constrain-on generation, constrain-off generation, must-run generation), MW output schedule during market intervention or market suspension, and, as necessary, commands via the automatic generation control, deviation to actual dispatch from the RTD schedule. The Dispatch Deviation Instruction Report shall contain, among others, the following information: a. Covered period (start time and end time) Date and Time of Incident b. Resource name c. Reason for Deviation Dispatch Instruction: • Utilized for ancillary services • Testing Requirement • Re-dispatch of constrain-on and constrain-off generating units • Designation of must-run units • Limitation on must dispatch generating units • Market Intervention or Market Suspension d. Short description of the issue being addressed (e.g. frequency breached x Hz) e. Type of Dispatch Instruction f. Target MW value instructed | Change to Dispatch Instruction Report to only cover instructions issued by SO. Added proposed changes to format also. |  |  |  |  |
| Post-dispatch Reports and Information | 14.4.5 | Report on Must-run Units. In accordance with WESM Rules Clause 3.5.13.1, the System Operator shall submit a report to the Market Operator identifying all the generating units designated as must-run units within the trading day, as well as information necessary for the proper settlement of such generating units. | Report on Must-run Units. In accordance with WESM Rules Clause 3.5.13.1, the System Operator shall submit a report information to the Market Operator identifying all the generating units designated as must-run units within the trading day, as well as information necessary for the proper settlement of such generating units. Such information shall be included in the Dispatch Instruction Report. | To indicate that information on designation of MRUs shall be included in the Dispatch Instruction Report |  |  |  |  |
| Post-dispatch Reports and Information | 14.4.7 | (NEW) | 14.4.7 Each generation company shall validate all the data in the Dispatch Instruction Report as published by the Market Operator in the market information website. Any discrepancy in these reports shall be reported by the generation company to the Market Operator within two (2) weeks after the Market Operator’s publication of these reports. Failure by the generation company to report to the Market Operator any discrepancy within the period defined herein shall render the data in the report as final. | To include provision that discrepancies should be reported within two weeks. |  |  |  |  |
| Post-dispatch Reports and Information | 14.4.8 | (NEW) | 14.4.8 Within two (2) working days from receipt of a report, the Market Operator shall request the System Operator to validate a reported discrepancy by a generator. | Provide the Market Operator time to consolidate and transmit discrepancy report to the SO |  |  |  |  |
| Post-dispatch Reports and Information | 14.4.9 | (NEW) | 14.4.9 The System Operator shall perform reconciliation with the generation company and provide the results of its validation of the reported discrepancies within two (2) weeks from the receipt of the request from the Market Operator. If the Market Operator has not received any validation within the prescribed timeline, the published data from the Dispatch Instruction Report shall be maintained. If the generation company claims additional compensation related to the reported discrepancies that were not validated within the prescribed timeline, the generation company may subject the said claim under the WESM dispute resolution process. | To include ERC directive* on SO reconciliation timeline and impact of non-submission by SO of validation within the prescribed timeline. * Section 4.4.1.1.3 of ERC Decision dated 29 August 2020 on ERC Case No. 2017-042RC |  |  |  |  |
| Determination of Reserve Requirements | 15.4.2 | The level of reserve requirement for secondary reserve service shall be based on the latest issuances on the procurement of ancillary services by the ERC, and shall be used as reference by the Market Operator for the market projections and real-time dispatch schedule. | The level of reserve requirement for secondary regulating reserve service shall be based on the latest issuances on the procurement of ancillary services by the ERC, and shall be used as reference by the Market Operator for the market projections and real-time dispatch schedule. | To harmonize with DOE DC2019-12-0018 (regulating, contingency, dispatchable) |  |  |  |  |
| Determination of Reserve Requirements | 15.4.3 | For primary reserve service and tertiary reserve, the System Operator shall determine the level of reserve requirement in accordance with the latest issuances on the procurement of ancillary services by the ERC. | For primary contingency reserve service and tertiary dispatchable reserve, the System Operator shall determine the level of reserve requirement in accordance with the latest issuances on the procurement of ancillary services by the ERC. | To harmonize with DOE DC2019-12-0018 (regulating, contingency, dispatchable) |  |  |  |  |
| Management of Must-Run Units | 17.5.1 | 17.5 Reporting and Publication Each generator shall validate all the data related to MRU contained in the Dispatch Deviation Report as published by the Market Operator in the Market information website. Any discrepancy in these reports shall be reported by the Generator to the Market Operator within two weeks after the Market Operator’s publication of these reports. Failure by the Generator to report to the Market Operator any discrepancy within the period defined herein shall render the MRU data relative to the Generator final. | 17.5 Reporting and Publication Each generator shall validate all the data related to MRU contained in the Dispatch Deviation Report as published by the Market Operator in the Market information website. Any discrepancy in these reports shall be reported by the Generator to the Market Operator within two weeks after the Market Operator’s publication of these reports. Failure by the Generator to report to the Market Operator any discrepancy within the period defined herein shall render the MRU data relative to the Generator final. | Suggest to delete given the proposed integration of MRU reporting to the Dispatch Instruction Report. |  |  |  |  |
| Managing Excess Generation for the Next Day | 18.3 | 18.3.1 There is an impending excess generation when the resulting price in the day-ahead projection run is equivalent to the offer floor price and the aggregate unscheduled Technical Pmin of generating units with floor price offers is greater than or equal to the secondary reserve requirement. | 18.3.1 There is an impending excess generation when the resulting price in the day-ahead projection run is equivalent to the offer floor price and the aggregate unscheduled Technical Pmin of generating units with floor price offers is greater than or equal to the secondary regulating reserve requirement. | To harmonize with DOE DC2019-12-0018 (regulating, contingency, dispatchable) |  |  |  |  |
| Emergency Procedures | 20.4 | Emergency Procedures during Overload | [See Appendix A for changes to Emergency Procedures during Overload flowchart] | Proposed for refinements in the process flow from SO |  |  |  |  |
| Content Structure of Real-time dispatch Results for the System Operator | Appendix D | XXX - Real-time dispatch schedules. Column Name; Description. END_TIME; XXX. REFERENCE_NAME; Concatenates the Resource Name and the market product. The following lists the market products available. - “EN” for energy - “RU” for Regulation raise/upward - “RD” for Regulation lower/downward - “FR“ for Fast Contingency Raise - “FL” for Fast Contingency Lower - “SR” for Slow Contingency Raise - “SL” for Slow Contingency Lower - “DR“ for Delayed Contingency Raise - “DL” for Delayed Contingency Lower XXX. MW; XXX. - Market Requirements. Column Name; Description. START_TIME; Start Time of the Dispatch interval. END_TIME; End/Target Time of the Dispatch interval. RUN_TYPE; Describes the type of market run, which is RTD. MKT_PRODUCT; Describes type of requirement - “EN” for energy - “RU” for Regulation raise/upward - “RD” for Regulation lower/downward - “FR“ for Fast Contingency Raise - “FL” for Fast Contingency Lower - “SR” for Slow Contingency Raise - “SL” for Slow Contingency Lower - “DR“ for Delayed Contingency Raise - “DL” for Delayed Contingency Lower. REGION_ID; XXX. REQ_MW; XXX. XXX | XXX a. Real-time dispatch schedules. Column Name; Description. END_TIME; XXX. REFERENCE_NAME; Concatenates the Resource Name and the market product. The following lists the market products available. - “EN” for energy - “RU” for Regulation raise/upward - “RD” for Regulation lower/downward - “FR“ for Fast Contingency Raise (Contingency Reserve) - “FL” for Fast Contingency Lower - “SR” for Slow Contingency Raise - “SL” for Slow Contingency Lower - “DR“ for Delayed Contingency Raise (Dispatchable Reserve) - “DL” for Delayed Contingency Lower XXX. MW; XXX. b. Market Requirements. Column Name; Description. START_TIME; Start Time of the Dispatch interval. END_TIME; End/Target Time of the Dispatch interval. RUN_TYPE; Describes the type of market run, which is RTD. MKT_PRODUCT; Describes type of requirement - “EN” for energy - “RU” for Regulation raise/upward - “RD” for Regulation lower/downward - “FR“ for Fast Contingency Raise (Contingency Reserve) - “FL” for Fast Contingency Lower - “SR” for Slow Contingency Raise - “SL” for Slow Contingency Lower - “DR“ for Delayed Contingency Raise (Dispatchable Reserve) - “DL” for Delayed Contingency Lower. REGION_ID; XXX. REQ_MW; XXX. XXX | To harmonize with DOE DC2019-12-0018 (regulating, contingency, dispatchable) |  |  |  |  |
| Content Structure of SO Inputs to the Market Projections and Real-time dispatch | Appendix E | XXX f. Reserve Requirement. Column Name; Description. SCHEDULE_TYPE; Refers to the MMS’ COP Schedule Type for Reserve Requirement. The following are the available schedule types for reserves. - RegulationLowerReserve - RegulationRaiseReserve - FastContingencyLowerReserve - FastContingencyRaiseReserve - SlowContingencyLowerReserve - SlowContingencyRaiseReserve - DelayedContingencyLowerReserve - DelayedContingencyRaiseReserve. VERSION; XXX. OBJECT_ID; XXX. TARGET_TIME; XXX. MW; XXX. | XXX f. Reserve Requirement. Column Name; Description. SCHEDULE_TYPE; Refers to the MMS’ COP Schedule Type for Reserve Requirement. The following are the available schedule types for reserves. - RegulationLowerReserve - RegulationRaiseReserve - FastContingencyLowerReserve - FastContingencyRaiseReserve (Contingency Reserve) - SlowContingencyLowerReserve - SlowContingencyRaiseReserve - DelayedContingencyLowerReserve - DelayedContingencyRaiseReserve (Dispatchable Reserve). VERSION; XXX. OBJECT_ID; XXX. TARGET_TIME; XXX. MW; XXX. | To harmonize with DOE DC2019-12-0018 (regulating, contingency, dispatchable) |  |  |  |  |
|  |  | (New) | Appendix G. Details of Dispatch Instructions Using Automatic Generation Control [See Appendix B] | Proposed to provide option for automated dispatching |  |  |  |  |

Note: Please underline and put in bold letters the proposed changes to the Market Rules or Manual.

Appendix A

| Provision | Proposed Amendment | Comments | Proponent’s Response | RCC Agreement |
| --- | --- | --- | --- | --- |
| 20.4.1 Emergency Procedures During Overload | 20.4.1 Emergency Procedures During Overload |  |  |  |

Appendix B

Enhanced AGC System Command Modes

| No. | RTD Schedules | Command Mode | Remarks | Lower Limit | Upper Limit | Comments | Proponent’s Response | RCC Agreement |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Energy Only | SCHED – O | Energy only | None |  |  |  |  |
| 2 | Contingency Reserve (CR) Only | AUTO – E | Scheduled for Contingency Reserve only | Pmin | Pmin + CR |  |  |  |
| 3 | Energy + Contingency Reserve | SCHED – E | Has energy and contingency reserve schedule | EN | EN + CR |  |  |  |
| 4 | Regulating Reserve (RR) | AUTO – R | Scheduled for regulating reserve only | EN – RR Downward | EN + RR Upward |  |  |  |
| 5 | Energy + Regulating Reserve | SCHED – R | It has energy and regulating reserve schedules. It also has same energy schedules in previous and current dispatch intervals. |  |  |  |  |  |
|  |  | AUTO – R | It has energy and regulating reserve schedules. It also has different energy schedules in previous and current dispatch intervals. |  |  |  |  |  |
| 6 | Dispatchable Reserve (DR) Only | MANUAL | Scheduled for Dispatchable Reserve only | EN – DR Lower | EN + DR Raise |  |  |  |
| 7 | Energy + Dispatchable Reserve | SCHED-O | Has energy and dispatchable reserve schedule |  |  |  |  |  |

Illustrating AGC Commands Within the 5-minute Dispatch Interval

- WESM Manual on Registration, Suspension and De-Registration Criteria and Procedures Issue 5.3

| Title | Clause | Provision | Proposed Amendment | Rationale | Comments | Proposed Wordings based on Comments | Proponent’s Response | RCC Agreement |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Write general comments here, if any. |  |  |  |
| Other Considerations | (New) | (NEW) | 2.5.4.7 Modelling of the Generating Unit’s Availability Upon registration, Trading Participants shall specify if the availability of its generating unit shall be based on the real-time status of its generator breaker, or on the availability of its market offers. | Proposed requirement for generator modelling where TPs need to specify if generator availability is based entirely on its generator breakers, or on the availability of its market offers. |  |  |  |  |

- WESM Manual on Market Network Model Development and Maintenance - Criteria and Procedures Issue 4.2

| Title | Clause | Provision | Proposed Amendment | Rationale | Comments | Proposed Wordings based on Comments | Proponent’s Response | RCC Agreement |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Write general comments here, if any. |  |  |  |
| Definitions | 2.1.5 | (NEW) | 2.1.5 Market Resource refers to the objects defined in the Market Network Model to represent generators, battery energy storage systems, pumped-storage units, and loads. | Provide general term used in MNM for all objects representing generators, BESS, pumped-storage units, and loads |  |  |  |  |
| MNM Components and Modeling | 4.4.12 | (NEW) | 4.4.11 Real-Time Data The System Operator shall provide the following real-time data, each having its respective real-time data quality, to the Market Operator. - Analog measurements (MW/MVAR) to represent gross generation output and generation net of the station use; - Analog measurements (MW/MVAR) to represent consumption at least at the connection point; - Analog measurements (MW/MVAR) measuring loading at the high-side and low-side of the transformer; - Analog measurements (MW/MVAR) measuring the loading at both ends of an AC line or HVDC link; - Breaker Status; - Calculated MW Demand per region; and - Power System Frequency per grid (Hz). | Proposed addition to document provision of real-time data for the MNM. |  |  |  |  |
| MNM Development Timetable | 4.5.4 | After the receipt of the official notification from the System Operator, the Market Operator shall initiate the approval process for the MNM uploading to facilitate the implementation of the notified change. Minor changes (such as but not limited to, change in equipment/resources naming conventions, additional bays for future expansions) to the transmission network that has no impact to the market operations may be implemented at a later time. | After the receipt of the official notification from the System Operator, the Market Operator shall start the preparations initiate the approval process for the MNM uploading update to facilitate the implementation of the notified change. Minor changes (such as but not limited to, change in equipment/resources naming conventions, additional bays for future expansions) to the transmission network that has no impact to the market operations may be implemented at a later time. | Revise for clarity of existing process |  |  |  |  |
| MNM Development Timetable | 4.5.6 | The table below describes the timeline of activities involved in updating the MNM. The variable “D” stands for the target date of uploading of the new MNM. This date is set by the Market Operator upon its assessment, and is based on energization date or commissioning date of a new or upgraded facility or equipment. Table 1. MNM Development Timetable | The table below describes the timeline of activities involved in updating the MNM. The variable “D” stands for the target date of uploading deployment of the new MNM update. This date is set by the Market Operator upon its assessment, and is based on in consideration of the energization date or commissioning date of a new or upgraded facility or equipment. Table 1. MNM Development Timetable [See Appendix C for proposed revised Table 1. MNM Development Timetable. Existing Table 1 to be deleted] | Revised for clarity. Also updated MNM Development Timetable to provide more clarity and introduce process improvements |  |  |  |  |
| MNM Development Timetable | 4.5.7 | All MNM revisions uploaded to the production system should be ratified by the PEM Board. Ratification of the said network model shall be done upon completion of the seven-day consistency monitoring. | All MNM revisions uploaded to the production system should be ratified by the PEM Board. Ratification of the said network model shall be done upon completion of the seven-day consistency monitoring. The Market Operator shall prepare a monthly report containing all MNM updates deployed in the production system. This report shall be provided to the DOE, ERC, and the PEM Board, and shall be similarly published in the market information website ten (10) working days after the end of the billing period. | It is proposed that instead of a PEM Board Ratification, monthly MNM updates shall instead be provided. Currently with the Existing MMS, IEMOP updates the MNM by grouping network changes in batches. But given the new features of the New MMS, IEMOP intends to update the MNM per network change, and as near-to-real-time as possible. Given the possible volume of such updates, it is proposed that all of them just be collated for a month, then be provided to the DOE, ERC, and PEM Board as the official summary report of MNM updates. |  |  |  |  |
| MNM Development Timetable | 4.5.8 | Additional Considerations in the MNM Development are as follows: a) Network Service Providers shall ensure that they provide ample information regarding their planned activities to the System Operator b) All planned activities should involve proper coordination between the Market Operator and the System Operator (including affected Trading Participants if necessary). c) The target date of uploading (Day ‘D’) by the Market Operator may be moved further depending on justifiable reasons from either the Market Operator or the System Operator. In such cases, the Market Operator in coordination with the System Operator should decide on the new target date of uploading. d) Should the target uploading of a new MNM issue be cancelled, and then other changes to the MNM were put into effect after its cancellation, the System Operator shall notify the Market Operator of its new scheduled energization date seven days prior. | Additional Considerations in the MNM Development are as follows: a) Network Service Providers shall ensure that they provide ample information regarding their planned activities to the System Operator b) All planned activities should involve proper coordination between the Market Operator and the System Operator (including affected Trading Participants if necessary). c) The target date of uploading deployment (Day ‘D’) by the Market Operator may be moved further depending on justifiable reasons from either the Market Operator or the System Operator. In such cases, the Market Operator in coordination with the System Operator should decide on the new target date of uploading deployment. d) Should the target uploading deployment of an new MNM update issue be cancelled, and then other changes updates to the MNM were put into effect after its cancellation, the System Operator shall notify the Market Operator of its new scheduled energization date seven days prior. e) In cases where urgent updates to the MNM are necessary, the Network Service Provider or the System Operator shall provide the necessary technical requirements to update the MNM at least two (2) working days prior to the target energization. Urgent updates do not include new market resources. | Revised “uploading” to “deployment”. Add provision to allow “urgent MNM updates”. |  |  |  |  |
| Alterations to the Market Network Model | 5.1 | REAL-TIME MNM CONFIGURATION | REAL-TIME MNM CONFIGURATION DYNAMISM OF MNM USING REAL-TIME DATA | Revised for clarity |  |  |  |  |
| Alterations to the Market Network Model | 5.1.1 | Real time reconfiguration refers to any changes in the MNM reconfiguration of any part of the transmission system that may affect the dispatch within any trading interval. These revisions shall be made automatically to the MNM based on the inputs and data provided by the System Operator through the EMS. This shall include, but may not be limited to, the following: a) Change in Transmission and Sub-transmission Network topology; b) Line, Generator and Customer Load outage; and c) Reconfiguration as initiated by the System Operator or the Network Service Providers to maintain system security and reliability. | Real time reconfiguration refers to any changes in the MNM reconfiguration of any part of the transmission system that may affect the dispatch within any trading interval. The static power system model of the MNM These revisions shall be made automatically dynamically updated to the MNM based on the inputs and data provided by the System Operator through the EMS. This shall include, but may not be limited to, the following: a) Change in Transmission and Sub-transmission Network topology with reference to real-time status of breakers and disconnect switches; and b) Scheduled outages of power system equipment (e.g. Lines, Power Transformers, HVDC Links, Generators, and Customer Loads outage); and c) Reconfiguration as initiated by the System Operator or the Network Service Providers to maintain system security and reliability. | Revised for clarity. Also removed source of “EMS” since inputs from SO are provided through their different platforms. To add, item (c) is not part of the real-time update. |  |  |  |  |
| Alterations to the Market Network Model | 5.2 | NETWORK DEVELOPMENT | NETWORK DEVELOPMENT OF UPDATES TO THE MNM | Revised for clarity. |  |  |  |  |
| Network Development | 5.2.1 | Network development is any reconfiguration of any part of the transmission or sub-transmission system. The Market Operator should be notified as the network development may affect the dispatch and are permanent in nature. This shall include the following: xxxx | The Market Operator shall develop updates to the market network model and power system model in view of Network development is any reconfiguration of any part of the transmission or sub-transmission system. The Market Operator should be notified as the network development may affect the dispatch and are permanent in nature. This shall include the following: xxxx | Revised for clarity. |  |  |  |  |
| MNM | -- | MARKET NETWORK MODEL MAINTENANCE AND PUBLICATION | MARKET NETWORK MODEL MAINTENANCE AND PUBLICATION | Not necessary. Clerical edit. |  |  |  |  |
| Market Network Model Maintenance | 5.4.2 | The Market Operator shall maintain an electronic copy of the following for all market network model revisions: a) Bus Oriented Single Line Diagram; and b) Breaker Oriented Single Line Diagram c) Network Parameters | The Market Operator shall maintain an electronic copy of the following for all market network model revisions updates: a) Bus-Oriented Single Line Diagram; and b) Breaker-Oriented Single Line Diagram c) Network Technical Parameters | Revised for clarity on how IEMOP maintains the repository for the MNM. |  |  |  |  |
| Alterations to the Market Network Model | 5.5 | Manner of Publication | Manner of Publication Reporting of MNM Updates | Revise from Publication to Reporting |  |  |  |  |
| Manner of Publication | 5.5.1 | Any changes or revision initiated by the Market Operator or System Operator shall trigger the publication of the revised and approved MNM. | Any changes or revision initiated by the Market Operator or System Operator shall trigger the publication of the revised and approved MNM. Within two (2) working days from deployment, the Market Operator shall publish advisory on the MNM updates deployed in the production system. | Propose revision on how IEMOP will report MNM updates. Immediate information shall be published after deployment. Then a summary of the changes will be provided every month. |  |  |  |  |
| Manner of Publication | 5.5.2 | The Market Operator shall regularly publish the relevant updated MNM documents within seven days after the completion of the MNM consistency monitoring in the MMS’ production system. Every revision of the MNM shall have the following associated documents published in the Market Information Website: a) MNM Revisions Manual; b) Bus-Oriented Single Line Diagram; and c) Information brief | The Market Operator shall regularly publish the relevant updated MNM documents within seven days after the completion of the MNM consistency monitoring in the MMS’ production system. Every revision of the MNM shall have the following associated documents published in the Market Information Website: a) MNM Revisions Manual; b) Bus-Oriented Single Line Diagram; and c) Information brief Consistent with the provisions of Clause 4.5.7 of this Market Manual, the Market Operator shall prepare a monthly report containing all MNM updates deployed in the production system. This report shall be provided to the DOE, ERC, and the PEM Board, and shall be similarly published in the market information website ten (10) working days after the end of the billing period. At the least, it shall contain the following. - Summary of MNM Updates during the month - Latest Bus-Oriented Single Line Diagram |  |  |  |  |  |
| Generator MTN | 6.5.4 | (NEW) | During the registration of the generator resource, Trading Participants shall specify if its availability shall be based on the real-time status of its generator breaker, or on the availability of its market offers. | During the generator modelling, TPs need to specify if generator availability is based entirely on its generator breakers, or on the availability of its market offers. |  |  |  |  |
| Battery Energy Storage System | 6.7.4 | (NEW) | During the registration of the battery energy storage system resource, Trading Participants shall specify if its availability shall be based on the real-time status of its connecting breaker, or on the availability of its market offers. | During the BESS modelling, TPs need to specify if generator availability is based entirely on its connecting breakers, or on the availability of its market offers. |  |  |  |  |
| Pumped-Storage Unit | 6.8.3 | (NEW) | During the registration of the pumped-storage unit resource, Trading Participants shall specify if its availability shall be based on the real-time status of its connecting breaker, or on the availability of its market offers. | During the BESS modelling, TPs need to specify if generator availability is based entirely on its connecting breakers, or on the availability of its market offers. |  |  |  |  |

Appendix C. Proposed MNM Development Timetable

MNM Development Timetable

| ITEM | TIMELINE | ACTIVITY | DESCRIPTION | RESPONSIBLE PARTY | Comments | Proponent’s Response | RCC Agreement |
| --- | --- | --- | --- | --- | --- | --- | --- |
| R | Before D – 9 | Generator Trading Participants should provide technical specifications of its facility to the Market Operator | At the very least, the technical requirements indicated in the WESM Market Manual on Registration, Suspension and De-Registration Criteria and Procedures for new generators, battery energy storage systems, or pumped-storage units should be provided. The same requirements are also required when requesting for the re-modelling of facilities (i.e. aggregation of disaggregation of resources). | Generator Trading Participant |  |  |  |
| 2 | Before D – 9 | The System Operator should provide technical specifications to the Market Operator for new load facilities | The System Operator should provide the power system topology that reflects the connection of the new load facility. | System Operator |  |  |  |
| 3 | Before D – 8 | Network Service Providers should provide notice of changes in the Distribution Network | Applicable only for Network Service Providers whose equipment should be included, or are already included, in the Market Network Model | Network Service Providers |  |  |  |
| 4 | D – 8 | Register New Market Resource in the Central Registration and Settlement System (CRSS) and Market Management System (MMS) | Upon receiving the technical requirements for the registration of new market resources, the Market Operator shall register it in the CRSS and MMS at least eight (8) days prior to their target energization. | Market Operator |  |  |  |
| 5 | D – 7 | Submit notice of changes to the Grid | The System Operator shall submit a notice of changes to the grid, which includes the following. - Power system topology (or diagram) that highlights the changes; - Real-time mapping definitions; and - Technical parameters affected by the change. | System Operator |  |  |  |
| 6 | D – 6 | Initiate Preparations for MNM Update | The Market Operator shall make the necessary preparations concerning the MNM update, specifically for network changes that has a material effect to the system operations and market operations as appropriately assessed by the Market Operator. It shall involve the changes as notified by the System Operator, and changes recommended by the Market Operator, where appropriate, including simplifications and alterations to the market network model that maintains: (a) the relationship between the market network model and the transmission network; and (b) consistency with market requirements. | Market Operator |  |  |  |
| 7 | Before D – 2 | Market Model and Power System Model Update | The Market Operator shall effect changes to the MNM through the updating of the market and power system models recognized by the MMS. The Market Operator may create different “MNM Update Tasks” for such MNM updates. An MNM update task represents a collection of changes in the MNM. Each MNM update task can be deployed separately for production use. | Market Operator |  |  |  |
| 8 | Before D – 2 | Testing of “MNM Update Task” | The Market Operator shall perform functional and technical tests on the updated network model for each MNM task to ensure its consistency with the updated power system. | Market Operator |  |  |  |
| 9 | Before D – 1 | Confirm schedule of energization | The System Operator shall inform the Market Operator of the final schedule of energization. | System Operator |  |  |  |
| 10 | On or Before D | Notice of Planned Deployment to the WESM Participants | The Market Operator shall inform the WESM Participants of the planned deployment date for the updating of the MNM in the production system of the MMS | Market Operator |  |  |  |
| 11 | D | Deployment of MNM Update Task | The Market Operator shall deploy the MNM Update Task in the production system. Should the MNM update task involve changes that are not yet energized, and the updated MNM’s power system model is unable to dynamically adapt to its non-energization, then the Market Operator may defer the deployment of the MNM Update Task to a later date. | Market Operator |  |  |  |
| 12 | D | Notice of Post-Deployment to the WESM Participants | The Market Operator shall inform the WESM Participants of the successful deployment of MNM update in the production system of the MMS | Market Operator |  |  |  |
| 13 | D | Provide Updates on Market Model and Power System Model to the System Operator | The Market Operator shall provide the System Operator with relevant information to ensure reliable operation between the two entities. This primarily includes the updated mapping information between the MMS and EMS | Market Operator |  |  |  |
| 14 | D to D+7 | Consistency monitoring of the updated MNM | The Market Operator shall continuously monitor the status of the recently updated MNM in the production system for the next seven days | Market Operator |  |  |  |

- Market Operator Information Disclosure and Confidentiality Manual Issue 5.1

| Title | Clause | Provision | Proposed Amendment | Rationale | Comments | Proposed Wording based on Comments | Proponent’s Response | RCC Agreement |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| OTHERS |  |  | [See table below] | Consistent with the proposed changes in the WESM DP Section 14.4.2 |  |  |  |  |

| Category | Specific Information | Information/ Data Source | Classification | Recipient | Means of Provision | Publication Timeline |
| --- | --- | --- | --- | --- | --- | --- |
| xxx |  |  |  |  |  |  |
| OTHERS |  |  |  |  |  |  |
| Transmission System Information | xxx | xxx | xxx | xxx | xxx | xxx |
|  | Dispatch Deviation Instruction Report by the System Operator (in CSV) and Daily Operations Report | System Operator | Public | Public | Market Information Website | Within the next trading day Weekly report to be submitted within the following week |