ORCP-WM-24-08

Call for Comments to the Proposed General Amendments to the WESM Manual on Dispatch Protocol on Issuance and Coverage of Dispatch Schedules below Minimum Stable Load (ORCP-WM-24-08)

The Rules Change Committee (RCC) is inviting all WESM Members and interested parties to submit comments to the PEM Board-approved Proposed General Amendments to the WESM Manual on Dispatch Protocol on Issuance and Coverage of Dispatch Schedules below Minimum Stable Load (ORCP-WM-24-08).

The proposed amendments are intended to provide guidelines for trading participants and plants operators in managing the dispatch of their generating units in the event of having dispatch schedules below their minimum stable load or Pmin.

The WESM document for amendments is:

- WESM Manual on Dispatch Protocol

BACKGROUND:

The proposed amendments were originally initiated by PEMC on 02 October 2024 by way of the rules change process for urgent amendments. Following the procedures for processing urgent proposals set forth in Section 7 of the Rules Change Manual, the RCC certified the proposal as urgent, immediately deliberated on the proposal on 10 October 2024, and approved it on 22 October 2024.

| Activity | Date |
| --- | --- |
| RCC Approval | 22 October 2024 |
| PEM Board Approval | 23 October 2024 |
| Effectivity Date of Revised Rules and Manuals | 25 October 2024 |

The urgent amendments shall remain in effect up to 6 months or until a general amendment on the same matter has been approved by the DOE and becomes continuously in effect, whichever comes first. The updated market rules and manuals could be accessed in this webpage.

DOCUMENTS:

Provided below are the relevant materials for your reference:

- Original Rules Change Proposal submitted by PEMC (ORCP-WM-24-07)

- PEM Board-approved urgent proposal (RCC Resolution No. 2024-07)

- Matrix of Proposed Amendments for Comments – Annex A of this document (See below. Please write your comments in the proper columns in the matrix.)

Kindly submit your comments (in Word format) through the File a Submission page no later than 11 December 2024 or 30 working days from the date of publication (30 October 2024). Please input in the proper field the e-mail address of your point person(s) who we could further contact regarding activities related to the processing of the proposal. All comments received shall be published in the PEMC website.

Thank you.

For the Rules Change Committee.

[In accomplishing and submitting this form, you give your consent for PEMC to collect, record, organize, and update your personal data as herein provided as part of your information for purposes of rules change process.]

Commenter’s Information

| Name | [Signature over Name] |
| --- | --- |
| Designation |  |
| Company |  |
| Company Address |  |
| Telephone No. |  |
| Email Address |  |

| DISPATCH PROTOCOL MANUAL ISSUE 21.0 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Title | Section | Provision | Proposed Amendment | Rationale | Comments | Proposed Wording based on Comments | Original Proponent’s Response | RCC Decision |
| Please write your general comment here, if any: |  |  |  |  |  |  |  |  |
| Section 11 – Dispatch Implementation 11.4 Issuance and Coverage of Dispatch Instruction |  | (NEW) | 11.4.4 Generator Dispatch Compliance for Energy Real-time Dispatch Schedules Below Minimum Stable Load or Pmin - For generating unit with real-time dispatch schedule below its minimum stable load or Pmin for the next dispatch interval, the following shall be observed: - If the generating unit is currently running or is being dispatched, it should operate at its Pmin for that next dispatch interval. - If the generating unit is currently offline, it should remain offline for that next dispatch interval. Notwithstanding the foregoing, the generating unit shall follow re-dispatch instructions issued by the System Operator in accordance with Section 11.6 of this Manual. - The Trading Participant shall, upon publication of the relevant real-time dispatch schedule in the MPI, communicate to the System Operator the action it has taken or will be taken, as may be authorized in the preceding provision, in view of the resulting real-time dispatch schedule for the relevant dispatch interval. c) Subject to the foregoing, the Trading Participant shall update its offers appropriately for the following dispatch intervals so that such an incident may not recur. | To provide guidance to TPs whenever they are issued with RTD schedules that are below Pmin. To emphasize that the re-dispatch instructions of the System Operator shall prevail in the event that one is issued for purposes of securing grid reliability / security. To allow the System Operator to address the possible adverse impact of the non-compliance and correspondingly take necessary actions (e.g., call another generating unit to run in place and stead of unavailable plant). To impose upon the TP the obligation to also revisit its offer submission and to revise the offers in the next intervals, if necessary, to prevent its recurrence. |  |  |  |  |
| Section 11 – Dispatch Implementation 11.4 Issuance and Coverage of Dispatch Instruction | 11.4.4. Generator Dispatch Compliance Beyond Normal Grid Frequency Threshold | 11.4.4. Generator Dispatch Compliance Beyond Normal Grid Frequency Threshold. a. xxx b. Once the grid frequency goes up to 60 Hz after coming off from a state in Section 11.4.4 (a), then the Trading Participants shall resume to dispatch its generating units to meet its dispatch schedule. c. xxx d. Once the grid frequency comes down to 60 Hz after coming off from a state in Section 11.4.4 (c), then the Trading Participants shall resume to dispatch its generating units to meet its dispatch schedule. | 11.4.4 xxx 11.4.5 Generator Dispatch Compliance Beyond Normal Grid Frequency Threshold. a. xxx b. Once the grid frequency goes up to 60 Hz after coming off from a state in Section 11.4.4 11.4.5 (a), then the Trading Participants shall resume to dispatch its generating units to meet its dispatch schedule. c. xxx d. Once the grid frequency comes down to 60 Hz after coming off from a state in Section 11.4.4 11.4.5 (c), then the Trading Participants shall resume to dispatch its generating units to meet its dispatch schedule. | Renumbering of the succeeding provisions due to insertion of new provision |  |  |  |  |