Call for Comments to the Proposed General Amendments to the WESM Rules and WESM Registration Manual in view of DOE DC2022-10-0031 (Declaring All Renewable Energy Resources as Preferential Dispatch Generating Units in the WESM Amending for this Purpose Department Circular No. DC2015-03-0001)

The Rules Change Committee (RCC) is inviting all WESM Members and interested parties to submit comments to the Proposed General Amendments to the WESM Rules and WESM Registration Manual in view of DOE DC2022-10-0031 (Declaring All Renewable Energy Resources as Preferential Dispatch Generating Units in the WESM Amending for this Purpose Department Circular No. DC2015-03-0001) (ORCP-WR-WM-23-01).

The proposed amendments seek to:

- amend the classification of priority dispatch generating units to include all biomass plants (with FiT certificate or none), geothermal, and impounding hydro plants;

- provide that controllable generating units involving biomass, geothermal and impounding hydro plants that are currently registered as providers of ancillary services should be registered as scheduled generating units in view of the principles of co-optimizing its energy and reserve capacities through market offers for the upcoming reserve market; and

- define projected output for hydropower and geothermal plants classified as priority dispatch generating units

The WESM documents for amendments are:

- WESM Rules; and

- WESM Manual on Registration, Suspension and De-registration Criteria and Procedures

BACKGROUND:

The proposed amendments were originally initiated by the Independent Electricity Market Operator of the Philippines (IEMOP) on 23 December 2022 by way of the rules change process for urgent amendments. Following the procedures for processing urgent proposals set forth in Section 7 of the Rules Change Manual, the RCC certified the proposal as urgent, and immediately deliberated on the proposal on 28 December 2022. The approval and effectivity of the urgent proposal are as follows:

| Activity | Date |
| --- | --- |
| RCC Approval | 09 January 2023 |
| PEM Board Approval | 25 January 2023 |
| Effectivity Date of Revised Rule and Manual | 27 January 2023 |

The approved urgent amendments shall remain in effect up to 6 months or until a general amendment on the same matter has been approved by the DOE and becomes continuously in effect, whichever comes first. The updated market rules and manuals could be accessed in this webpage.

DOCUMENTS:

Provided below are the relevant materials for your reference:

- Original Rules Change Proposal submitted by IEMOP (ORCP-WR-WM-22-13)

- PEM Board-approved urgent proposal (RCC Resolution No. 2023-01) per PEM Board Resolution No. 2023-56-01

- Matrix of Proposed Amendments for Comments - Annexes A to B of this document (See below. Please write your comments in the proper columns in the matrix.)

Kindly submit your comments (in Word format) through the File a Submission page no later than 17 March 2023 or 30 working days from the date of publication (03 February 2023). Please input in the proper field the e-mail address of your point person(s) who we could further contact regarding activities related to the processing of the proposal.

Thank you.

For the Rules Change Committee,

Rules Review Division

Market Assessment Group

Philippine Electricity Market Corporation

+632 8631 8734 local 244 | mag_rrd@wesm.ph | www.wesm.ph

18F Robinsons Equitable Tower, ADB Avenue, Ortigas Center, Pasig City 1600, Philippines

Proponent's Information (for the Party Submitting the Comments)

| Name |  |
| --- | --- |
| Designation |  |
| Company |  |
| Company Address |  |
| Telephone No. |  |
| Fax. No. |  |
| Email Address |  |

Proposed General Amendments to the WESM Rules and WESM Registration Manual in view of DOE DC2022-10-0031 (Declaring All Renewable Energy Resources as Preferential Dispatch Generating Units in the WESM Amending for this Purpose Department Circular No. DC2015-03-0001)

| WESM Rules |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Title | Clause | Original Provision | Proposed Amendment (PEM Board-approved as Urgent Amendment) | Rationale | Comment | Proposed Re-wording based on Comment | Original Proponent’s Response | RCC Decision |
| [Please write general comments here, if any.] |  |  |  |  |  |  |  |  |
| CATEGORIES OF WESM MEMBERS 2.3.1 Generation Companies | 2.3.1.5 | A generating unit or group of generating units connected at a common connection point that is intermittent renewable energy resource-based, whether or not under the Feed-In Tariff system, such as wind, solar, run-of-river hydro or ocean energy with the corresponding DOE certification shall be classified as a must dispatch generating unit, but may at its option be classified as a scheduled generating unit or a a non-scheduled generating unit subject to Clause 2.3.1.4. | A generating unit or group of generating units connected at a common connection point that is intermittent renewable energy resource-based, whether or not under the Feed-In Tariff system, such as wind, solar, run-of-river hydro or ocean energy with the corresponding DOE certification shall be classified as a must dispatch generating unit, but may at its option be classified as a scheduled generating unit or a a non-scheduled generating unit subject to Clause 2.3.1.4. | Clerical correction. |  |  |  |  |
| CATEGORIES OF WESM MEMBERS 2.3.1 Generation Companies | 2.3.1.6 | A generating unit or group of generating units connected at a common connection point that uses biomass as fuel, that is under the Feed-In Tariff system, with the corresponding Feed-In Tariff Certificate of Compliance shall be classified as a priority dispatch generating unit, but may at its option be classified as a scheduled generating unit or a a non-scheduled generating unit subject to Clause 2.3.1.4. | A generating unit or group of generating units connected at a common connection point that uses are qualified renewable energy plants that are not must dispatch, such as those using either geothermal energy or biomass as fuel or is an impounding hydro plant, and is not providing reserve or registered as Ancillary Services Provider, that is under the Feed-In Tariff system, with the corresponding Feed-In Tariff Certificate of Compliance shall be classified as a priority dispatch generating unit, but may at its option be classified as a scheduled generating unit or a a non-scheduled generating unit subject to Clause 2.3.1.4. | To comply with DOE DC2022-10-0031, but with consideration that the generating unit is not providing reserve (i.e., ancillary services traded in the WESM) in view of the principles of co-optimizing the plant’s energy and reserve capacities through market offers for the upcoming reserve market. |  |  |  |  |
| Glossary | Glossary | Priority Dispatch. Preference to biomass plants under the Feed-In Tariff System in the dispatch schedule pursuant to Section 7 of the Renewable Energy Act. | Priority Dispatch. Option or Ppreference to all qualified and registered renewable energy plants that are not eligible for Must Dispatch such as biomass, geothermal, and impounding hydro plants under the Feed-In Tariff System in the dispatch schedule. Pursuant to Section 7 of the Renewable Energy Act. | To be consistent with the definition of “priority dispatch” in DOE DC2022-10-0031. |  |  |  |  |
| Glossary | Glossary | Projected Output. The loading level nominated by a Generation Company for its must dispatch generating units or priority dispatch generating units indicating the forecasted output of its must dispatch generating unit or priority dispatch generating unit at the end of a dispatch interval. | Projected Output. The loading level nominated by a Generation Company for its must dispatch generating units or priority dispatch generating units indicating the forecasted output of its must dispatch generating unit or priority dispatch generating unit at the end of a dispatch interval. In the case of geothermal or impounding hydro plant which is classified as priority dispatch generating unit, projected output shall refer to its maximum available capacity, as defined in WESM Rules or Market Manual. | To maintain the requirement for geothermal and hydro plants to nominate loading levels corresponding to their maximum available capacity, in keeping with the principle of the must-offer rule. |  |  |  |  |

| WESM Manual on Registration, Suspension and De-Registration Criteria and Procedures Issue 12.1 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Title | Section | Original Provision | Proposed Amendment (PEM Board-approved as Urgent Amendment) | Rationale | Comment | Propose Re-wording based on Comment | Original Proponent’s Response | RCC Decision |
| [Please write general comments here, if any.] |  |  |  |  |  |  |  |  |
| Generating Unit Classification | 2.5.4.1 | a) An Applicant wishing to register as Generation Company shall, upon application, classify each of the generating unit or group of generating units which form part of the generating system it owns or operates or controls or from which it otherwise sources electricity as either – xxx (iv) A priority dispatch generating unit for a generating unit or group of generating units connected at a common connection point that uses biomass as fuel, that is under the Feed-In Tariff system, with the corresponding Feed-In Tariff Certificate of Compliance issued by the ERC. However, the Generation Company may also elect to have such unit/s classified as scheduled generating unit/s or non-scheduled generating unit/s subject to this Section. | a) An Applicant wishing to register as Generation Company shall, upon application, classify each of the generating unit or group of generating units which form part of the generating system it owns or operates or controls or from which it otherwise sources electricity as either – xxx (iv) A priority dispatch generating unit for a generating unit or group of generating units connected at a common connection point that uses are qualified renewable energy plants that are not must dispatch, such as those using either geothermal energy or biomass as fuel or is an impounding hydro plant and is not providing reserve or registered as Ancillary Services Provider, that is under the Feed-In Tariff system, with the corresponding Feed-In Tariff Certificate of Compliance issued by the ERC. However, the Generation Company may also elect to have such unit/s classified as scheduled generating unit/s or non-scheduled generating unit/s subject to this Section. | To be consistent with the definition of “priority dispatch” in DOE DC2022-10-0031, but with consideration that the generating unit is not providing reserve (i.e., ancillary services traded in the WESM) in view of the principles of co-optimizing the plant’s energy and reserve capacities through market offers for the upcoming reserve market. |  |  |  |  |