[image: image1.jpg]Wholesale Electricity
Spot Market



                      





     
                                                                                   WESM-WM-(Manual)-CN - ______
REQUEST FOR AMENDMENTS OR CHANGES TO THE WESM MANUALS
Proposals made only under this prescribed form shall be accepted and considered as submitted: 
This request for amendments to the WESM Rules can be submitted to:

PEM Board
Attention: PEM Committee Secretariat
Philippine Electricity Market Corporation 

18/F Robinsons Equitable Tower

ADB Avenue, Ortigas Center
Pasig City, 1605 Philippines


Email address: rcc@wesm.ph




Fax Number: (+632) 395-2704
I.  Proponent’s Information
	Name                  
	Francis Saturnino C. Juan

	Designation         
	President and CEO

	Company              
	Independent Electricity Market Operator of the Philippines, Inc.

	Company Address               
	19/F Robinsons Equitable Tower ADB Ave. Ortigas Center


	
	Pasig City


	
	

	Telephone No.                      
	02 318 9376


	Fax. No.
	02 636 0802


	Email Address
	nino.juan@iemop.ph



II. WESM Manual Amendments Information
	Title of WESM Manual being commented:

Metering Standards and Procedures Issue 11.0
Nature of Request (please indicate with x)

  FORMCHECKBOX 
 Addition    FORMCHECKBOX 
 Alteration    FORMCHECKBOX 
 Deletion    FORMCHECKBOX 
 Clarification    FORMCHECKBOX 
  Clerical Correction



III. Proposed Amendment
	Title
	Section
	Provision
	Proposed Amendment
	Rationale

	PERFORMANCE MEASUREMENT-METERING

SERVICE PROVIDER - Introduction
	10.1
	The integrity of meter data and timeliness of submission/delivery of meter data to the Philippine Electricity Market Corporation (PEMC) by the Meter Service Provider/s (MSP) are the objectives of the WESM to produce and transmit the settlement ready data to the trading participant/s (TP). Erroneous meter data and/or a delay in submission/delivery of meter data may affect the billing and settlement of WESM generators, customers and other entities.
	The integrity of meter data and timeliness of submission/delivery of meter data to the Market Operator Philippine Electricity Market Corporation (PEMC) by the Meter Service Provider/s (MSP) are the objectives of the WESM to produce and transmit the settlement ready data to the trading participant/s (TP). Erroneous meter data and/or a delay in submission/delivery of meter data may affect the billing and settlement of WESM generators, customers and other entities.
	To clarify that meter data are being submitted by MSPs to the MO.

	PERFORMANCE MEASUREMENT-METERING

SERVICE PROVIDER - Purpose
	10.2
	This section provides the Trading Participant/s, Meter Service Provider/s and PEMC steps required for the review, evaluation and measurement of the performance of a Meter Service Provider (MSP). The measurement process monitors the conformance of an MSP to the WESM Rule Section 4.3.3 – MSP Obligation and as discussed in this section.
	This section provides the Trading Participant/s, Meter Service Provider/s, Market Operator and PEMC steps required for the review, evaluation and measurement of the performance of a Meter Service Provider (MSP). The measurement process monitors the conformance of an MSP to the WESM Rule Section 4.3.3 – MSP Obligation and as discussed in this section.
	Since the data that will be used to measure MSP performance will be from IEMOP, it is proposed to include the MO in this provision.

	PERFORMANCE MEASUREMENT-METERING

SERVICE PROVIDER - Scope
	10.3
	This procedure is intended to provide the Trading Participant/s, Meter Service Provider/s and PEMC information and/or steps in rating the performance of the Metering Service Provider/s. The procedural work flows described in this section serve as reference for the trading participant/s, metering service provider/s and PEMC in reflecting the requirement in the WESM Rules.
	This procedure is intended to provide the Trading Participant/s, Meter Service Provider/s, Market Operator and PEMC information and/or steps in rating the performance of the Metering Service Provider/s. The procedural work flows described in this section serve as reference for the trading participant/s, metering service provider/s, Market Operator and PEMC in reflecting the requirement in the WESM Rules.
	Since the data that will be used to measure MSP performance will be from IEMOP, it is proposed to include the MO in this provision.

	PERFORMANCE MEASUREMENT-METERING

SERVICE PROVIDER - Scope
	10.3.1
	The integrity of meter data provided by the Meter Service Provider/s to PEMC and the Trading Participant/s.
	The integrity of meter data provided by the Meter Service Provider/s to the Market Operator PEMC and the Trading Participant/s.
	To clarify that meter data are being submitted by MSPs to the MO. 

	PERFORMANCE MEASUREMENT-METERING

SERVICE PROVIDER – Performance Rating – Semi-Annual Customer Satisfaction Rating
	10.7.2
	Every six (6) months, the PEMC Metering & Settlement Department shall conduct a CSR on the MSP performance through the issuance of the CSR form to all the WESM trading participants to be accomplished and submitted back to PEMC. The CSR forms are to be accomplished every first week of July of the current year and January of the following year. The July rating comprises the MSP performance from January to June of the current year and the January rating correspond to the second half of the previous year (July to December).
	Every six (6) months, the PEMC Metering & Settlement Department shall conduct a CSR on the MSP performance through the issuance of the CSR form to all the WESM trading participants to be accomplished and submitted back to PEMC. The CSR forms are to be accomplished every first week of July of the current year and January of the following year. The July rating comprises the MSP performance from January to June of the current year and the January rating correspond to the second half of the previous year (July to December).
	The term “PEMC Metering & Settlement Department” refers to Metering, Billing and Settlement (MBS) Division of the IEMOP. Since MSP performance monitoring is deemed as a governance function, it is proposed to clarify that MSP performance monitoring will be performed by PEMC as the WESM Governing Body. 

	PERFORMANCE MEASUREMENT-METERING

SERVICE PROVIDER – Performance Rating – Semi-Annual Performance Rating
	10.7.3
	Annual Performance Rating covers the billing periods January to December of each year. It shall consist of:

1. The annual Performance Measures under Sub- section 10.4.1 – Service Delivery (Average of the 12 months billing).

2. The Customer Satisfaction Rating under Sub-sections 10.4.2 and 10.7.2.

The annual MSP Performance Rating shall be submitted by the PEMC Metering & Settlement Department to PEMC Management.
	Annual Performance Rating covers the billing periods January to December of each year. It shall consist of:

1. The annual Performance Measures under Sub- section 10.4.1 – Service Delivery (Average of the 12 months billing).

2. The Customer Satisfaction Rating under Sub-sections 10.4.2 and 10.7.2.

The annual MSP Performance Rating shall be submitted by the PEMC Metering & Settlement Department to PEMC Management.
	Since it is proposed to clarify that PEMC shall perform MSP performance monitoring, it is likewise proposed to remove the reference to the MBS Division of IEMOP in this provision.   

	PERFORMANCE MEASUREMENT-METERING

SERVICE PROVIDER – Work Flow for MSP Performance Rating
	10.7
	(refer to Annex A)
	(refer to Annex A)
	To clarify that PEMC shall perform MSP performance monitoring and that MO shall submit all pertinent data to PEMC.


         Note: For convenience, please underline and put in bold letters the proposed changes to the WESM Manual.
IV. Proposed Scheme to Monitor the Effectiveness of the Proposed Changes to the WESM Manual
	


V.  Referral 

   MAG Date Received:  ________________________    
   Proposed Amendment:          FORMCHECKBOX 
 Urgent          FORMCHECKBOX 
 Minor          FORMCHECKBOX 
 General
A. For Urgent Amendment (For the use of PEMC President only)
	Date Referred to PEMC President
	 FORMCHECKBOX 
 Yes                      FORMCHECKBOX 
 No

	Certifies as urgent
	 FORMCHECKBOX 
 Yes                      FORMCHECKBOX 
 No

	Convene the RCC within 48 hrs.
	

	Remarks:




B. For Minor and General Amendment (For the use of RCC only)
	Date Referred to  RCC:                
	

	Remarks:



	Action taken: 

	Request for comments:
	 FORMCHECKBOX 
  Yes            FORMCHECKBOX 
 No

	
	Request written comments from:
 FORMCHECKBOX 
 DRG           FORMCHECKBOX 
  MSC           FORMCHECKBOX 
  PA           FORMCHECKBOX 
  MO
 FORMCHECKBOX 
 ECO            FORMCHECKBOX 
  RCC           FORMCHECKBOX 
  TC           

 FORMCHECKBOX 
 Other PEM Board Committees  
 FORMCHECKBOX 
  Other Interested Parties 

	For further review of the  Technical Sub-Committee: 
	 FORMCHECKBOX 
 Yes    
Assigned to:
 FORMCHECKBOX 
  SO Sub-Committee
 FORMCHECKBOX 
  MO Sub-Committee

 FORMCHECKBOX 
  Metering Sub-Committee

 FORMCHECKBOX 
  Billing and Settlement Sub-Committee

 FORMCHECKBOX 
  Legal and Regulatory Sub-Committee               

	
	 FORMCHECKBOX 
 No 

	For public consultation: 
	 FORMCHECKBOX 
 Yes             FORMCHECKBOX 
  No  

	RCC Resolution:
	 FORMCHECKBOX 
  Approved         FORMCHECKBOX 
  Disapproved

	RCC Resolution No.:
	

	Date of Resolution:
	

	RCC Meeting No.
	

	Date of endorsement to the PEM Board:
	


PAGE  

