ORCP-WM-19-18

- Proponent's Information (for the Party Submitting the Comments)

| Name and Signature |  |
| --- | --- |
| Designation |  |
| Company |  |
| Company Address |  |
| Telephone No. |  |
| Fax. No. |  |
| Email Address |  |

- Comments to the Proposed Amendments to the WESM Dispatch Protocol Manual to Enhance Procedures in Must-Run Unit Accounting (ORCP-WM-19-18)

| WESM Manual on Dispatch Protocol Issue 13.0 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Title | Section | Provision | Proposed Amendment | Rationale | Comments | Proposed Revised Wording | Proponent’s Response |
|  |  |  |  |  | Write general comments here, if any. |  |  |
| Management of Must-Run Units – Overview | 17.1.8 (new) | (new) | The generator shall also be considered as a must-run unit in the dispatch intervals succeeding its dispatch instruction as must-run unit until the dispatch interval when any of the following conditions occur: - it is deemed to have fully ramped down based on its registered ramp rate; - it is scheduled to dispatch more than or equal to its previous real-time dispatch schedule; or - it is re-designated as a must-run unit. | To ensure proper compensation of MRUs when complying with dispatch instructions. |  |  |  |
| Management of Must-Run Units – Reporting and Publication | 17.5.2 (new) | (new) | Within two (2) working days from receipt of a report, the Market Operator shall request the System Operator to validate a reported discrepancy by a generator. | To provide clear timelines in the processing of reported discrepancies by generators designated as MRUs. |  |  |  |
| Management of Must-Run Units – Reporting and Publication | 17.5.3 (new) | (new) | The System Operator shall provide the results of its validation of the reported discrepancies within two (2) weeks from the receipt of the request from the Market Operator. If the Market Operator has not received any validation within the prescribed timeline, the Market Operator shall consider the submitted discrepancies by the Generator as valid. | To provide clear timelines in the processing of reported discrepancies by generators designated as MRUs. |  |  |  |
| Management of Must-Run Units – Dispatch Intervals under Ramp Down | 17.6 (new) | (new) | Dispatch Intervals under Ramp Down | To provide details on the determination of the dispatch intervals when a generator is ramping down from its MRU instruction |  |  |  |
| Management of Must-Run Units – Dispatch Intervals under Ramp Down | 17.6.1 (new) | (new) | Subject to Clauses 17.6.2 and 17.6.3, the Market Operator shall determine the number of dispatch intervals succeeding an MRU designation that a generator will be treated additionally as must-run unit using the following formula rounded up to the next whole dispatch interval: ng,i = MRUg,iRRg×5 Where: ng,i refers to the number of dispatch intervals that generator g will be considered as a must-run unit after dispatch interval i with dispatch instruction as must-run unit MRUg,i refers to the actual dispatch, in MW, of generator g as must-run unit for dispatch interval i RRg refers to the registered ramp rate, in MW/min, of generator g | It is proposed that dispatch intervals when the generator is ramping down from its MRU instruction based on its registered ramp rate be considered as MRU intervals to allow the generator to recover costs resulting from its compliance with the MRU dispatch instruction. |  |  |  |
| Management of Must-Run Units – Dispatch Intervals under Ramp Down | 17.6.2 (new) | (new) | If the dispatch schedule of the generator is greater than or equal to its dispatch schedule from the previous dispatch interval, the generator shall not be additionally treated as a must-run unit starting that dispatch interval. | An increase or no change in the dispatch schedule of a generator indicates that its offer has cleared the market and will not require additional compensation to recover its costs. |  |  |  |
| Management of Must-Run Units – Dispatch Intervals under Ramp Down | 17.6.3 (new) | (new) | If the generator is designated as a must-run unit, the generator shall be additionally treated as a must-run unit up to the dispatch interval prior to its re-designation as a must-run unit. | Accounting of additional MRU intervals will reset when the generator is re-designated as an MRU. |  |  |  |

Note: For convenience, please underline and put in bold letters the proposed changes to the WESM Manual.