[image: image1.jpg]Wholesale Electricity
Spot Market



                      





     
                                                                                                               WESM-WR-CN-_____
REQUEST FOR WESM RULES AMENDMENTS
Proposals made only under this prescribed form shall be accepted and considered as submitted.
This request for amendments to the WESM Rules can be submitted to: 


PEM Board
Attention:  PEM Committee Secretariat
Philippine Electricity Market Corporation 

18/F Robinsons Equitable Tower

ADB Avenue, Ortigas Center
Pasig City, 1605 Philippines

Email addresses: rcc@wesm.ph

Fax Number: (+632) 395-2704  
I.  Proposer’s Information
	Name                  
	Jose Mari T. Bigornia

	Designation         
	President and CEO



	Company              
	Independent Electricity Market Operator of the Philippines 

	Company Address               
	19/F Robinsons Equitable Tower ADB Ave. Ortigas Center

	
	Pasig City



	
	

	Telephone No.                      
	02 318 9376

	Fax. No.
	02 636 0802

	Email Address
	malee.bigornia@iemop.ph




II. WESM Rules Amendment Information
	Topic  

:

Implementation of DOE DC2019-02-0003 providing for the Framework Governing the Operations of Embedded Generators
Nature of Request (please indicate with x)

     FORMCHECKBOX 
  Addition    FORMCHECKBOX 
 Alteration    FORMCHECKBOX 
 Deletion    FORMCHECKBOX 
 Clarification    FORMCHECKBOX 
Clerical Correction


III. Proposed Amendment 
	Title
	Clause
	Provision
	Proposed Amendment
	Rationale

	Categories of WESM Member – Generation Company 
	2.3.1.1
	A Generation Company with facilities connected to a transmission or distribution system shall register with the Market Operator as a WESM member.
	A Generation Company with facilities connected to a transmission or distribution system shall register with the Market Operator as a WESM member. A Generation Company with facilities connected to a distribution system shall register with the Market Operator as a WESM member if it meets the criteria under Clause 2.3.1.10; otherwise, a Generation Company with facilities connected to a distribution system may register as a WESM Member on a voluntary basis.

	To incorporate the general framework for WESM registration of embedded generators provided under Sections 6.1 and 6.2 of DOE DC2019-02-0003

	Categories of WESM Member – Generation Company
	2.3.1.3
	Subject to Clauses 2.3.1.5 and 2.3.1.6, a generating unit or a group of generating units connected at a common connection point with a nameplate rating or a combined nameplate rating of greater than or equal to one tenth of one percent (> 0.1%) of the peak load in a particular reserve region shall be classified as a scheduled generating unit.
	Subject to Clauses 2.3.1.5 and 2.3.1.6, a generating unit or a group of generating units connected at a common connection point with a nameplate rating or a combined nameplate rating of greater than or equal to the following regional thresholds one tenth of one percent (> 0.1%) of the peak load in a particular reserve region shall be classified as a scheduled generating unit:
(a) 10 MW for Luzon Grid;

(b) 5 MW for Visayas Grid; and

(c) 5 MW for Mindanao Grid.
	The regional threshold provided in the under Section 6.1.1 of DOE DC2019-02-0003 is based on the minimum generation level that may significantly affect the frequency of the grid, as determined by NGCP. The same level is proposed to be used for classifying non-scheduled generating units for consistency.

	Categories of WESM Member – Generation Company
	2.3.1.4
	Subject to Clauses 2.3.1.5 and 2.3.1.6, a generating unit or a group of generating units connected at a common connection point with a nameplate rating or a combined nameplate rating of less than one tenth of one percent (< 0.1%) of the peak load in a particular reserve region, or less than ten percent (< 10%) of the size of  interconnection facilities, whichever is lower, shall be classified as a non-scheduled generating unit, but may at its option be classified as a scheduled generating unit.
	Subject to Clauses 2.3.1.5 and 2.3.1.6, a generating unit or a group of generating units connected at a common connection point with a nameplate rating or a combined nameplate rating of less than the regional thresholds provided in Clause 2.3.1.3 one tenth of one percent (< 0.1%) of the peak load in a particular reserve region, or less than ten percent (< 10%) of the size of  interconnection facilities, whichever is lower, shall be classified as a non-scheduled generating unit, but may at its option be classified as a scheduled generating unit.
	For consistency with Section 6.1.1 of DOE DC2019-02-0003

	Categories of WESM Member – Generation Company 
	2.3.1.10
	(new)
	A Generation Company with facilities connected to a distribution system shall register with the Market Operator if:

a) the maximum stable load of its generating unit is greater than or equal to 10 MW, if the generating unit is in the Luzon Grid, or 5 MW, if the generating unit is in the Visayas or Mindanao Grids; or

b) the maximum stable load of its generating unit is below the regional thresholds provided under clause 2.3.1.10(a) but it has a bilateral contract outside its host distribution utility; or

c) its generating unit is under the Feed-In Tariff System.

	To incorporate the criteria for mandatory WESM registration of embedded generators provided under Section 6.1 of DOE DC2019-02-0003

	Glossary
	
	(new)
	Maximum Stable Load. The maximum demand in MW that a generating unit, or generating block or module in case of a combined cycle power plant, can reliably sustain for an indefinite period of time, based on the generator capability tests.


	To incorporate the definition of maximum stable load in the WESM Rules. The same definition is provided in Section 2(i) of DOE DC2019-02-0003 and the WESM Registration Manual.

	Glossary
	
	Non-Scheduled Generating Unit. A generating unit or a group of generating units connected at a common point with a nameplate rating and a combined nameplate rating of less than one tenth of one percent (<0.1%) of the peak load in a particular reserve region, or less than ten percent (<10%) of the size of the interconnection facilities, whichever is lower.


	Non-Scheduled Generating Unit. A generating unit or a group of generating units connected at a common point with a nameplate rating and a combined nameplate rating of less than the regional thresholds provided in clause 2.3.1.3.  one tenth of one percent (<0.1%) of the peak load in a particular reserve region, or less than ten percent (<10%) of the size of the interconnection facilities, whichever is lower.


	For consistency with Section 6.1.1 of DOE DC2019-02-0003

	Glossary
	
	Scheduled Generating Unit. A generating unit so classified in accordance with clause 2.3.1.2 (a)(1). A generating unit or a group of generating units connected at a common connection point with a nameplate rating or a combined nameplate rating of greater than or one tenth of one percent (>0.1%) of the peak load in a particular reserve region.
	Scheduled Generating Unit. A generating unit so classified in accordance with clause 2.3.1.2 (a)(1). A generating unit or a group of generating units connected at a common connection point with a nameplate rating or a combined nameplate rating of greater than or equal to the regional thresholds provided in clause 2.3.1.3. one tenth of one percent (>0.1%) of the peak load in a particular reserve region.
	For consistency with Section 6.1.1 of DOE DC2019-02-0003


Note: For convenience, please underline and put in bold letters the proposed changes to the WESM Rules.
IV. Referral 

	Date Received by MAG
	:
	


Proposed Amendment:    FORMCHECKBOX 
 Urgent      FORMCHECKBOX 
 Minor          FORMCHECKBOX 
 General
A. For Urgent Amendment (For the use of PEMC President only)
	Date Referred to PEMC President
	

	Certifies as urgent
	 FORMCHECKBOX 
 Yes           FORMCHECKBOX 
 No

	Convene the RCC within 48 Hrs.: 
	 FORMCHECKBOX 
 Yes           FORMCHECKBOX 
 No

	Remarks:



B. For Minor and General Amendment (For the use of RCC only)
	Date Referred to  RCC:                
	

	Remarks:




	Action taken: 

	Request for comments:

	 FORMCHECKBOX 
 Yes             FORMCHECKBOX 
  No

	
	Request written comments from:
 FORMCHECKBOX 
  DRG           FORMCHECKBOX 
  MSC          FORMCHECKBOX 
  PA          FORMCHECKBOX 
   TC 

 FORMCHECKBOX 
  MO             FORMCHECKBOX 
  ECO          FORMCHECKBOX 
   MAG

 FORMCHECKBOX 
 Other PEM Board Committees  
 FORMCHECKBOX 
 Other Interested Parties



	For further review of the Technical Sub-Committee/s:
	 FORMCHECKBOX 
 Yes    

Assigned to:

 FORMCHECKBOX 
 SO Sub-Committee     

 FORMCHECKBOX 
 MO Sub-Committee

 FORMCHECKBOX 
 Metering Sub-Committee  
 FORMCHECKBOX 
 Billing and Settlement Sub-Committee
 FORMCHECKBOX 
 Legal and Regulatory Sub-Committee



	
	 FORMCHECKBOX 
 No 

	For public consultation: 
	 FORMCHECKBOX 
 Yes             FORMCHECKBOX 
  No  

	RCC Resolution:
	 FORMCHECKBOX 
 Approved       FORMCHECKBOX 
  Disapproved

	RCC Resolution Number:
	

	Date of Resolution: 
	

	RCC Meeting No.:
	

	Date of endorsement to the PEM Board:
	


PAGE  

