[image: image1.jpg]Wholesale Electricity
Spot Market



                      





     
                                                                                   ORCP-WM-19-14
REQUEST FOR AMENDMENTS OR CHANGES TO THE WESM MANUALS
Proposals made only under this prescribed form shall be accepted and considered as submitted: 
This request for amendments to the WESM Rules can be submitted to:

PEM Board
Attention: PEM Committee Secretariat
Philippine Electricity Market Corporation 

18/F Robinsons Equitable Tower

ADB Avenue, Ortigas Center
Pasig City, 1605 Philippines


Email address: rcc@wesm.ph




Fax Number: (+632) 395-2704
I.  Proponent’s Information
	Name                  
	Jose Mari T. Bigornia

	Designation         
	President and CEO

	Company              
	Independent Electricity Market Operator of the Philippines, Inc.

	Company Address               
	19/F Robinsons Equitable Tower ADB Ave. Ortigas Center


	
	Pasig City


	
	

	Telephone No.                      
	02 318 9376


	Fax. No.
	02 636 0802


	Email Address
	malee.bigornia@iemop.ph


II. WESM Manual Amendments Information
	Title of WESM Manual being commented:

Dispatch Protocol Issue No. 13
Nature of Request (please indicate with x)

  FORMCHECKBOX 
 Addition    FORMCHECKBOX 
 Alteration    FORMCHECKBOX 
 Deletion    FORMCHECKBOX 
 Clarification    FORMCHECKBOX 
  Clerical Correction



[image: image2.jpg]Wholesale Electricity
Spot Market



                    





     

III. Proponent's Information (for the Party Submitting the Comments)
	Name and Signature                  
	

	Designation         
	

	Company              
	

	Company Address               
	

	
	

	
	

	Telephone No.                      
	

	Fax. No.
	

	Email Address
	


IV. Comments to the Proposed Amendment (Proposed Amendments to the WESM Manual on Dispatch Protocol for the Optimal Timing of Market Runs)

	Dispatch Protocol Issue No. 13

	Title
	Section
	Provision
	Proposed Amendment
	Rationale
	Comments
	Proposed Revised Wording

	Day-Ahead Projection (DAP) – DAP Timeline
	4.4.2
	The activities that shall be performed for the DAP, within the time specified, using inputs for the covered study period of that specific DAP run, are provided in Table 2. The covered periods for all DAP runs within a day are provided in Table 3. 
Table 2. DAP Timeline

Timeline

Activity

Responsible Party

Before STPH1*

Submit the most recent self-scheduled nominations, bids and offers for all relevant hours of the DAP run

Trading Participants

Before [STPH1 + 2 minutes]

Provide updates on the following, if any:

1. Outage Schedules

2. Contingency List

3. Over-riding Constraints

4. Reserve Requirements

5. Real-time system snapshot

6. VRE Aggregated Generation Forecasts

7. Forecasts on the loading levels of Must dispatch generating units

System Operator

Before [STPH1 + 2 minutes]

Submit load forecast for the covered period

Market Operator

[STPH1 + 2 minutes]

Execute DAP

Market Operator

Before [STPH1 + 15 minutes]

Publish DAP Results in the MPI

Market Operator

Transmit DAP Results to System Operator

Market Operator

*STPH1 refers to the Start Time of the first Projected Hour (1) covered by the DAP run. For example, the Projected Hour of 0900H has a start time of 08:00 AM and an end time of 09:00 AM.
(See Appendix A for Figure 3)
	The activities that shall be performed for the DAP, within the time specified, using inputs for the covered study period of that specific DAP run, are provided in Table 2. The covered periods for all DAP runs within a day are provided in Table 3. 
Table 2. DAP Timeline

Timeline

Activity

Responsible Party

Before [STPH1* - 10 minutes]
Submit the most recent self-scheduled nominations, bids and offers for all relevant hours of the DAP run

Trading Participants

Before [STPH1 + 2 1 minutes]

Provide updates on the following, if any:

1. Outage Schedules

2. Contingency List

3. Over-riding Constraints

4. Reserve Requirements

5. Real-time system snapshot

6. VRE Aggregated Generation Forecasts

7. Forecasts on the loading levels of Must dispatch generating units

System Operator

Before [STPH1 + 2 1  minutes]

Submit load forecast for the covered period

Market Operator

[STPH1 + 2 1 minutes]

Execute DAP

Market Operator

Before [STPH1 + 15 25 minutes]

Publish DAP Results in the MPI

Market Operator

Transmit DAP Results to System Operator

Market Operator

*STPH1 refers to the Start Time of the first Projected Hour (1) covered by the DAP run. For example, the Projected Hour of 0900H has a start time of 08:00 AM and an end time of 09:00 AM.
(See Appendix A for Figure 3)
	The proposed changes will reflect the optimal timing of activities for the market runs considering the actual performance of the NMMS. 

Specifically, the justifications for the proposed changes for the Day-Ahead Projection (DAP) run are as follows:

· Before [STPH1* - 10 minutes]: Submission of self-scheduled nominations, bids/offers – To allow more processing time for market participant interface (MPI) transfer 

· Before [STPH1 + 1 minute]: (a) Submission of load forecast and reserve requirement, (b) Submission of outage schedule, contingency list, overriding constraints and (c) Execution of DAP run -   To align the processes to be as close as possible to the Start Time of the first Projected Hour (1) covered by the DAP run
· Before [STPH1 + 25 minutes]: (a) Publish DAP Results in the MPI and (b) Transmit DAP Results to System Operator – To allow sufficient time for the performance of five (5) DAP run scenarios (1 base DAP run, 4 different load scenarios) which may take up to four (4) minutes each   
	
	

	Hour-Ahead Projection (HAP) – HAP Timeline
	4.5.2
	The following activities shall be performed for the HAP, within the time specified, using inputs for the covered study period of that specific HAP run.
Table 4. HAP Timeline

Timeline

Activity

Responsible Party

Before [STDI1* – 8 minutes]

Submit the most recent self-scheduled nominations, bids and offers for all relevant hours of the HAP run

Trading Participants

Before [STDI1 – 7 minutes]

Provide updates on the following, if any:

1. Outage Schedules

2. Contingency List

3. Over-riding Constraints

4. Reserve Requirements

5. Real-time system snapshot

System Operator

Before [STDI1 – 7 minutes]

Submit load forecast for the covered period

Market Operator

[STDI1 – 7 minutes]

Execute HAP

Market Operator

Before [STDI1 – 1 minute]

Publish HAP Results in the MPI

Market Operator

Transmit HAP Results to System Operator

Market Operator

*STDI1 refers to the Start Time of the first dispatch interval (1) covered by the HAP run. For example, the 0815H dispatch interval has a start time of 08:10 AM and an end time of 08:15 AM. And if this is the first dispatch interval of the HAP run, then it will cover the period until 09:10 AM.
	The following activities shall be performed for the HAP, within the time specified, using inputs for the covered study period of that specific HAP run.
Table 4. HAP Timeline

Timeline

Activity

Responsible Party

Before [STDI1* – 8 9 minutes]

Submit the most recent self-scheduled nominations, bids and offers for all relevant hours of the HAP run

Trading Participants

Before [STDI1 – 7 minutes]

Provide updates on the following, if any:

1. Outage Schedules

2. Contingency List

3. Over-riding Constraints

4. Reserve Requirements

5. Real-time system snapshot

System Operator

Before [STDI1 – 7 minutes]

Submit load forecast for the covered period

Market Operator

[STDI1 – 7 minutes]

Execute HAP

Market Operator

Before [STDI1 – 2 minute]

Transmit HAP Results to System Operator

Market Operator

Before [STDI1 – 1 minute]

Publish HAP Results in the MPI

Market Operator

Before [STDI1 – 1 minute]

Transmit HAP Results to System Operator

Market Operator

*STDI1 refers to the Start Time of the first dispatch interval (1) covered by the HAP run. For example, the 0815H dispatch interval has a start time of 08:10 AM and an end time of 08:15 AM. And if this is the first dispatch interval of the HAP run, then it will cover the period until 09:10 AM.
	For the Hour-Ahead Projection (HAP) run, the following changes are proposed to consider actual system performance and accommodate SO’s requirement:

· Before [STDI1 – 9 minutes]: Submit the most recent self-scheduled nominations, bids and offers for all relevant hours of the HAP run – To ensure timely processing prior to HAP run execution considering actual system performance

· Before [STDI1 – 2 minute]: Transmit HAP Results to System Operator – To accommodate SO’s request that results shall be submitted two (2) minutes before the start of the dispatch interval in order to allow processing time for different SO applications


	
	

	Real-Time Dispatch (RTD) – RTD Timeline
	4.6.2
	The following activities shall be performed for the RTD, within the time specified, using inputs for the covered study period of that specific RTD run:
Table 5. RTD Timeline

Timeline

Activity

Responsible Party

Before [STDI1* – 8 minutes]

Submit self-scheduled nominations, bids and offers for all relevant hours of the RTD run

Trading Participants

Before [STDI – 7 minutes]

Provide updates on the following, if any:

1. Outage Schedules

2. Contingency List

3. Over-riding Constraints

4. Reserve Requirements

5. Real-time system snapshot

System Operator

Before [STDI – 7 minutes]

Submit load forecast for the relevant dispatch interval

Market Operator

[STDI – 7 minutes]

Execute RTD

Market Operator

Before [STDI – 1 minute]

Publish RTD Results in the MPI

Market Operator

Transmittal of Energy and Reserve Schedules, and WESM Merit Order Table to the System Operator

Market Operator

*STDI refers to the Start Time of the relevant dispatch interval.
	The following activities shall be performed for the RTD, within the time specified, using inputs for the covered study period of that specific RTD run:
Table 5. RTD Timeline

Timeline

Activity

Responsible Party

Before [STDI1* – 8 9 minutes]

Submit self-scheduled nominations, bids and offers for all relevant hours of the RTD run

Trading Participants

Before [STDI – 7 minutes]

Provide updates on the following, if any:

1. Outage Schedules

2. Contingency List

3. Over-riding Constraints

4. Reserve Requirements

5. Real-time system snapshot

System Operator

Before [STDI – 7 minutes]

Submit load forecast for the relevant dispatch interval

Market Operator

[STDI – 7 minutes]

Execute RTD

Market Operator

Before [STDI1 – 2 minute]
Transmittal of Energy and Reserve Schedules, and WESM Merit Order Table to the System Operator

Market Operator

Before [STDI – 1 minute]

Publish RTD Results in the MPI

Market Operator

Before [STDI – 1 minute]

Transmittal of Energy and Reserve Schedules, and WESM Merit Order Table to the System Operator

Market Operator

*STDI refers to the Start Time of the relevant dispatch interval.
	For the Real-Time Dispatch (RTD) run, the following changes are proposed to consider actual system performance and accommodate SO’s requirement:

· Before [STDI1 – 9 minutes]: Submit the most recent self-scheduled nominations, bids and offers for all relevant hours of the RTD run – To ensure timely processing prior to RTD run execution considering actual system performance

· Before [STDI1 – 2 minute]: Transmittal of Energy and Reserve Schedules, and WESM Merit Order Table to the System Operator – To accommodate SO’s request that results shall be submitted two (2) minutes before the start of the dispatch interval in order to allow processing time for different SO applications


	
	


Note: For convenience, please underline and put in bold letters the proposed changes to the WESM Manual.

PAGE  

